## Index
Index for Illustrative DNO in 2013/2014 (DCP 183 worked example)
UNLESS STATED OTHERWISE, THIS WORKBOOK IS ONLY A PROTOTYPE FOR TESTING PURPOSES AND ALL THE DATA IN THIS MODEL ARE FOR ILLUSTRATION ONLY.
This workbook is structured as a series of named and numbered tables. There is a list of tables below, with hyperlinks. Above
each calculation table, there is a description of the calculations and hyperlinks to tables from which data are used. Hyperlinks
point to the relevant table column heading of the relevant table. Scrolling up or down is usually required after clicking a
hyperlink in order to bring the relevant data and/or headings into view. Some versions of Microsoft Excel can display a "Back"
button, which can be useful when using hyperlinks to navigate around the workbook.
Copyright 2009-2012 Energy Networks Association Limited and others. Copyright 2013-2014 Franck Latrémolière, Reckon LLP and others.
The code used to generate this spreadsheet includes open-source software published at https://github.com/f20/power-models.
Use and distribution of the source code is subject to the conditions stated therein.
Any redistribution of this software must retain the following disclaimer: |  | Colour coding
THIS SOFTWARE IS PROVIDED BY AUTHORS AND CONTRIBUTORS "AS IS" AND ANY EXPRESS OR IMPLIED WARRANTIES, INCLUDING, BUT NOT LIMITED |  | Input data
TO, THE IMPLIED WARRANTIES OF MERCHANTABILITY AND FITNESS FOR A PARTICULAR PURPOSE ARE DISCLAIMED. IN NO EVENT SHALL AUTHORS OR |  | Constant value
CONTRIBUTORS BE LIABLE FOR ANY DIRECT, INDIRECT, INCIDENTAL, SPECIAL, EXEMPLARY, OR CONSEQUENTIAL DAMAGES (INCLUDING, BUT NOT |  | Formula: calculation
LIMITED TO, PROCUREMENT OF SUBSTITUTE GOODS OR SERVICES; LOSS OF USE, DATA, OR PROFITS; OR BUSINESS INTERRUPTION) HOWEVER CAUSED |  | Formula: copy
AND ON ANY THEORY OF LIABILITY, WHETHER IN CONTRACT, STRICT LIABILITY, OR TORT (INCLUDING NEGLIGENCE OR OTHERWISE) ARISING IN |  | Unused cell in input data table
ANY WAY OUT OF THE USE OF THIS SOFTWARE, EVEN IF ADVISED OF THE POSSIBILITY OF SUCH DAMAGE. |  | Unused cell in other table
Unlocked cell for notes
List of data tables
Worksheet | Data table | Type of table
913 | 913. Location name/ID (in LRIC power flow modelling data) | Input data
913 | 913. Demand or Generation (in LRIC power flow modelling data) | Input data
913 | 913. Linked location (if any) (in LRIC power flow modelling data) | Input data
913 | 913. Local charge 1 £/kVA/year (in LRIC power flow modelling data) | Input data
913 | 913. Remote charge 1 £/kVA/year (in LRIC power flow modelling data) | Input data
913 | 913. Not used (in LRIC power flow modelling data) | Fixed data
913 | 913. Not used (in LRIC power flow modelling data) | Fixed data
913 | 913. Maximum demand run: kW (in LRIC power flow modelling data) | Input data
913 | 913. Maximum demand run: kVAr (in LRIC power flow modelling data) | Input data
913 | 913. Not used (in LRIC power flow modelling data) | Fixed data
913 | 913. Not used (in LRIC power flow modelling data) | Fixed data
935 | 935. Name (in Tariff data) | Input data
935 | 935. Maximum import capacity (kVA) (in Tariff data) | Input data
935 | 935. Exempt export capacity (kVA) (in Tariff data) | Input data
935 | 935. Non-exempt pre-2005 export capacity (kVA) (in Tariff data) | Input data
935 | 935. Non-exempt 2005-2010 export capacity (kVA) (in Tariff data) | Input data
935 | 935. Non-exempt post-2010 export capacity (kVA) (in Tariff data) | Input data
935 | 935. Sole use asset MEAV (£) (in Tariff data) | Input data
935 | 935. LRIC location (in Tariff data) | Input data
935 | 935. Customer category for demand scaling (in Tariff data) | Input data
935 | 935. Network use factor (in Tariff data) | Input data
935 | 935. Super red kW import divided by kVA capacity (in Tariff data) | Input data
935 | 935. Super red kVAr import divided by kVA capacity (in Tariff data) | Input data
935 | 935. Proportion exposed to indirect cost allocation and fixed adder (in Tariff data) | Input data
935 | 935. Capacity subject to DSM (kVA) (in Tariff data) | Input data
935 | 935. Super red units exported (kWh) (in Tariff data) | Input data
935 | 935. Capacity eligible for GSP generation credits (kW) (in Tariff data) | Input data
935 | 935. Proportion eligible for charge 1 credits (in Tariff data) | Input data
935 | 935. Days for which not a customer (in Tariff data) | Input data
935 | 935. Hours in super-red for which not a customer (in Tariff data) | Input data
935 | 935. Import charge in previous charging year (£/year) (in Tariff data) | Input data
935 | 935. Export charge in previous charging year (£/year) (in Tariff data) | Input data
935 | 935. LLFC import (in Tariff data) | Input data
935 | 935. LLFC export (in Tariff data) | Input data
11 | 1100. Company, charging year, data version | Input data
11 | 1105. Diversity allowance between level exit and GSP Group (from CDCM table 2611) | Input data
11 | 1113. Days in year (in General inputs) | Input data
11 | 1113. O&M charging rate based on FBPQ data (£/kW/year) (in General inputs) | Input data
11 | 1113. Annual hours in super red (in General inputs) | Input data
11 | 1113. The amount of money that the DNO wants to raise from use of system charges, less transmission exit (£/year) (in General inputs) | Input data
11 | 1113. Transmission exit charges (£/year) (in General inputs) | Input data
11 | 1113. Direct cost (£/year) (in General inputs) | Input data
11 | 1113. Indirect cost (£/year) (in General inputs) | Input data
11 | 1113. Network rates (£/year) (in General inputs) | Input data
11 | 1113. Average adjusted GP (£/year) (in General inputs) | Input data
11 | 1113. GL term from the DG incentive revenue calculation (£/year) (in General inputs) | Input data
11 | 1113. Total CDCM generation capacity 2005-2010 (kVA) (in General inputs) | Input data
11 | 1113. Total CDCM generation capacity post-2010 (kVA) (in General inputs) | Input data
11 | 1122. Forecast system simultaneous maximum load (kW) from CDCM users (from CDCM table 2506) | Input data
11 | 1131. Assets in CDCM model (£) (from CDCM table 2705 or 2706) | Input data
11 | 1132. Override notional asset rate for 132kV/HV (£/kW) | Input data
11 | 1133. Maximum network use factor | Input data
11 | 1134. Minimum network use factor | Input data
11 | 1135. Loss adjustment factor to transmission for each network level (from CDCM table 2004) | Input data
11 | 1190. Is this the master model containing all the tariff data? | Input data
11 | 1191. Baseline total EDCM peak time consumption (kW) (in Baseline EDCM demand aggregates) | Input data
11 | 1191. Baseline total marginal effect of indirect cost adder (kVA) (in Baseline EDCM demand aggregates) | Input data
11 | 1191. Baseline total marginal effect of demand adder (kVA) (in Baseline EDCM demand aggregates) | Input data
11 | 1191. Baseline revenue from demand charge 1 (£/year) (in Baseline EDCM demand aggregates) | Input data
11 | 1192. Baseline total chargeable export capacity (kVA) (in Baseline EDCM generation aggregates) | Input data
11 | 1192. Baseline total non-exempt 2005-2010 export capacity (kVA) (in Baseline EDCM generation aggregates) | Input data
11 | 1192. Baseline total non-exempt post-2010 export capacity (kVA) (in Baseline EDCM generation aggregates) | Input data
11 | 1192. Baseline net forecast EDCM generation revenue (£/year) (in Baseline EDCM generation aggregates) | Input data
11 | 1193. Baseline total sole use assets for demand (£) (in Baseline EDCM notional asset aggregates) | Input data
11 | 1193. Baseline total sole use assets for generation (£) (in Baseline EDCM notional asset aggregates) | Input data
11 | 1193. Baseline total notional capacity assets (£) (in Baseline EDCM notional asset aggregates) | Input data
11 | 1193. Baseline total notional consumption assets (£) (in Baseline EDCM notional asset aggregates) | Input data
11 | 1193. Baseline total non sole use notional assets subject to matching (£) (in Baseline EDCM notional asset aggregates) | Input data
Calc | 4002. EHV asset levels | Fixed data
Calc | 4004. HV and LV network asset levels | Fixed data
Calc | 4006. HV and LV service asset levels | Fixed data
Calc | 4008. Is this the master model? | Calculation
Calc | 4008. EHV assets in CDCM model (£) | Sum-product calculation
Calc | 4008. HV and LV network assets in CDCM model (£) | Sum-product calculation
Calc | 4008. HV and LV service assets in CDCM model (£) | Sum-product calculation
Calc | 4008. Total CDCM peak time consumption (kW) | Copy cells
Calc | 4010. Notional asset rate (£/kW) | Calculation
Calc | 4010. Notional asset rate for 132kV/HV (£/kW) | Calculation
Calc | 4010. Notional asset rate adjusted (£/kW) | Combine tables
Calc | 4012. Weighting of each tariff for reconciliation of totals | Calculation
Calc | 4012. Has import charges? | Calculation
Calc | 4012. Maximum import capacity adjusted for part-year (kVA) | Calculation
Calc | 4012. Non-DSM import capacity adjusted for part-year (kVA) | Calculation
Calc | 4012. Has export charges? | Calculation
Calc | 4012. Capacity eligible for GSP generation credits (kW) adjusted for part-year | Calculation
Calc | 4012. Exempt export capacity (kVA) adjusted for part-year | Calculation
Calc | 4012. Non-exempt pre-2005 export capacity (kVA) adjusted for part-year | Calculation
Calc | 4012. Non-exempt 2005-2010 export capacity (kVA) adjusted for part-year | Calculation
Calc | 4012. Non-exempt post-2010 export capacity (kVA) adjusted for part-year | Calculation
Calc | 4012. Chargeable export capacity adjusted for part-year (kVA) | Calculation
Calc | 4014. Mapping of customer category to loss factor (in Rules applicable to customer categories) | Fixed data
Calc | 4014. Treatment of network assets (1: capacity; 2+: consumption) (in Rules applicable to customer categories) | Fixed data
Calc | 4016. EHV operating expenditure intensity | Fixed data
Calc | 4016. Power factor in 500 MW model | Fixed data
Calc | 4016. Factor for the allocation of capacity scaling | Fixed data
Calc | 4016. Proportion of residual to go into fixed adder | Fixed data
Calc | 4018. Super red kW divided by kVA adjusted for part-year | Calculation
Calc | 4018. Super red kVAr divided by kVA adjusted for part-year | Calculation
Calc | 4018. Sole use asset MEAV for demand (£) | Calculation
Calc | 4018. Sole use asset MEAV for non-exempt generation (£) | Calculation
Calc | 4018. Demand sole use asset MEAV adjusted for part-year (£) | Calculation
Calc | 4018. Generation sole use asset MEAV adjusted for part-year (£) | Calculation
Calc | 4018. Super-red kVAr/agreed kVA (capped) | Calculation
Calc | 4018. Index of customer category | Calculation
Calc | 4018. Loss factor to transmission | Calculation
Calc | 4018. Peak-time active power consumption adjusted to transmission (kW/kVA) | Calculation
Calc | 4018. Peak-time capacity use adjusted to transmission (kW/kVA) | Calculation
Calc | 4018. Active power equivalent of capacity adjusted to transmission (kW/kVA) | Calculation
Calc | 4020. Adjusted network use by capacity | Special calculation
Calc | 4020. Capacity assets (£/kVA) | Sum-product calculation
Calc | 4020. Adjusted network use by consumption | Special calculation
Calc | 4020. Consumption assets (£/kVA) | Sum-product calculation
Calc | 4022. Network use factors (second set) | Calculation
Calc | 4024. Second set of adjusted network use by capacity | Special calculation
Calc | 4024. Second set of capacity assets (£/kVA) | Sum-product calculation
Calc | 4024. Second set of adjusted network use by consumption | Special calculation
Calc | 4024. Second set of consumption assets (£/kVA) | Sum-product calculation
Calc | 4026. Location | Calculation
Calc | 4026. Linked location 1 | Calculation
Calc | 4026. Linked location 2 | Calculation
Calc | 4026. Linked location 3 | Calculation
Calc | 4026. Linked location 4 | Calculation
Calc | 4026. Linked location 5 | Calculation
Calc | 4026. Linked location 6 | Calculation
Calc | 4026. Linked location 7 | Calculation
Calc | 4028. Local charge 1 £/kVA/year at Location | Calculation
Calc | 4028. Local charge 1 £/kVA/year at Linked location 1 | Calculation
Calc | 4028. Local charge 1 £/kVA/year at Linked location 2 | Calculation
Calc | 4028. Local charge 1 £/kVA/year at Linked location 3 | Calculation
Calc | 4028. Local charge 1 £/kVA/year at Linked location 4 | Calculation
Calc | 4028. Local charge 1 £/kVA/year at Linked location 5 | Calculation
Calc | 4028. Local charge 1 £/kVA/year at Linked location 6 | Calculation
Calc | 4028. Local charge 1 £/kVA/year at Linked location 7 | Calculation
Calc | 4030. Network charge 1 £/kVA/year at Location | Calculation
Calc | 4030. Network charge 1 £/kVA/year at Linked location 1 | Calculation
Calc | 4030. Network charge 1 £/kVA/year at Linked location 2 | Calculation
Calc | 4030. Network charge 1 £/kVA/year at Linked location 3 | Calculation
Calc | 4030. Network charge 1 £/kVA/year at Linked location 4 | Calculation
Calc | 4030. Network charge 1 £/kVA/year at Linked location 5 | Calculation
Calc | 4030. Network charge 1 £/kVA/year at Linked location 6 | Calculation
Calc | 4030. Network charge 1 £/kVA/year at Linked location 7 | Calculation
Calc | 4032. Maximum demand run kVA at Location | Calculation
Calc | 4032. Maximum demand run kVA at Linked location 1 | Calculation
Calc | 4032. Maximum demand run kVA at Linked location 2 | Calculation
Calc | 4032. Maximum demand run kVA at Linked location 3 | Calculation
Calc | 4032. Maximum demand run kVA at Linked location 4 | Calculation
Calc | 4032. Maximum demand run kVA at Linked location 5 | Calculation
Calc | 4032. Maximum demand run kVA at Linked location 6 | Calculation
Calc | 4032. Maximum demand run kVA at Linked location 7 | Calculation
Calc | 4034. Average local charge 1 (£/kVA/year) | Calculation
Calc | 4034. Average network charge 1 (£/kVA/year) | Calculation
Calc | 4034. Total active power in maximum demand scenario (kW) | Calculation
Calc | 4034. Inverse power factor, maximum demand (kVA/kW) | Calculation
Calc | 4036. Import demand charge p/kVA/day | Calculation
Calc | 4036. Import capacity charge p/kVA/day | Calculation
Calc | 4036. Super red rate p/kWh | Calculation
Calc | 4036. Generation credit (before exempt adjustment) p/kWh | Calculation
Calc | 4036. Generation credit (unrounded) p/kWh | Calculation
Calc | 4036. Export super-red unit rate (p/kWh) | Calculation
Calc | 4038. Adjustment to exceeded import capacity charge for DSM (p/kVA/day) | Calculation
Calc | 4038. Super red unit rate adjusted for DSM (p/kWh) | Calculation
Calc | 4038. Import capacity charge from charge 1 (p/kVA/day) | Calculation
Calc | 4038. Number of super-red hours connected in year | Calculation
Calc | 4038. Peak-time capacity use per kVA of agreed capacity | Calculation
Calc | 4038. Data for capacity-based allocation of indirect costs | Calculation
Calc | 4038. Non sole use notional assets subject to matching (£) | Calculation
Calc | 4040. Total sole use assets for demand (£) | Calculation
Calc | 4040. Capacity assets (£) | Calculation
Calc | 4040. Consumption assets (£) | Calculation
Calc | 4040. Total sole use assets for generation (£) | Calculation
Calc | 4040. All notional assets in EDCM (£) | Calculation
Calc | 4040. Total EDCM peak time consumption (kW) | Calculation
Calc | 4040. Estimated total peak-time consumption (kW) | Calculation
Calc | 4040. Transmission exit charging rate (£/kW/year) | Calculation
Calc | 4040. Direct cost charging rate | Calculation
Calc | 4040. Network rates charging rate | Calculation
Calc | 4040. Indirect cost charging rate | Calculation
Calc | 4040. Indirect costs on EDCM demand (£/year) | Calculation
Calc | 4042. Direct costs on EDCM demand except through sole use asset charges (£/year) | Calculation
Calc | 4042. Network rates on EDCM demand except through sole use asset charges (£/year) | Calculation
Calc | 4042. Chargeable export capacity adjusted for part-year (kVA) (total) | Calculation
Calc | 4042. Non-exempt 2005-2010 export capacity (kVA) adjusted for part-year (total) | Calculation
Calc | 4042. Non-exempt post-2010 export capacity (kVA) adjusted for part-year (total) | Calculation
Calc | 4042. Export capacity charge p/kVA/day | Calculation
Calc | 4042. Revenue from demand charge 1 (£/year) | Calculation
Calc | 4042. Total marginal effect of indirect cost adder | Calculation
Calc | 4042. Indirect costs application rate | Calculation
Calc | 4042. Total non sole use notional assets subject to matching (£) | Calculation
Calc | 4044. Demand fixed charge p/day | Calculation
Calc | 4044. Generation fixed charge p/day (scaled for part year) | Calculation
Calc | 4044. Export fixed charge (unrounded) p/day | Calculation
Calc | 4044. Export fixed charge p/day | Calculation
Calc | 4044. Generation credit (unrounded) p/kVA/day | Calculation
Calc | 4044. Export capacity charge (unrounded) p/kVA/day | Calculation
Calc | 4044. Export capacity charge (p/kVA/day) | Calculation
Calc | 4044. Net export capacity charge (or credit) (unrounded) (p/kVA/day) | Calculation
Calc | 4044. Export capacity rate (p/kVA/day) | Calculation
Calc | 4044. Capacity charge p/kVA/day (exit only) | Calculation
Calc | 4044. Import capacity charge before scaling (p/kVA/day) | Calculation
Calc | 4044. Capacity charge after applying indirect cost charge p/kVA/day | Calculation
Calc | 4046. Net forecast EDCM generation revenue (£/year) | Calculation
Calc | 4046. Demand revenue target pot (£/year) | Calculation
Calc | 4046. Additional amount to be recovered (£/year) | Calculation
Calc | 4046. Amount to be recovered from adders ex costs (£/year) | Calculation
Calc | 4046. Residual residual (£/year) | Calculation
Calc | 4046. Annual charge on assets | Calculation
Calc | 4048. Marginal revenue effect of demand adder | Calculation
Calc | 4050. Total marginal revenue effect of demand adder | Calculation
Calc | 4050. Fixed adder ex indirects application rate | Calculation
Calc | 4052. Capacity charge after applying fixed adder ex indirects p/kVA/day | Calculation
Calc | 4052. Demand scaling p/kVA/day | Calculation
Calc | 4052. Total import capacity charge p/kVA/day | Calculation
Calc | 4052. Super red rate p/kWh | Calculation
Calc | 4052. Import capacity charge p/kVA/day | Calculation
Calc | 4052. Exceeded import capacity charge (p/kVA/day) | Calculation
Results | 4501. Name (in Tariff data) (copy) (in EDCM charge) | Copy cells
Results | 4501. Import super-red unit rate (p/kWh) (in EDCM charge) | Calculation
Results | 4501. Import fixed charge (p/day) (in EDCM charge) | Calculation
Results | 4501. Import capacity rate (p/kVA/day) (in EDCM charge) | Calculation
Results | 4501. Import exceeded capacity rate (p/kVA/day) (in EDCM charge) | Calculation
Results | 4501. Export super-red unit rate (p/kWh) (copy) (in EDCM charge) | Copy cells
Results | 4501. Export fixed charge p/day (copy) (in EDCM charge) | Copy cells
Results | 4501. Export capacity rate (p/kVA/day) (copy) (in EDCM charge) | Copy cells
Results | 4501. Export exceeded capacity rate (p/kVA/day) (in EDCM charge) | Copy cells
Results | 4501. Tariff checksum 5 (in EDCM charge) | Checksum
Results | 4501. Model checksum 7 (in EDCM charge) | Checksum
HSummary | 4601. Name (in Tariff data) (copy) (in EDCM charge) (copy) (in Horizontal information) | Copy cells
HSummary | 4601. Import super-red unit rate (p/kWh) (in EDCM charge) (copy) (in Horizontal information) | Copy cells
HSummary | 4601. Import fixed charge (p/day) (in EDCM charge) (copy) (in Horizontal information) | Copy cells
HSummary | 4601. Import capacity rate (p/kVA/day) (in EDCM charge) (copy) (in Horizontal information) | Copy cells
HSummary | 4601. Import exceeded capacity rate (p/kVA/day) (in EDCM charge) (copy) (in Horizontal information) | Copy cells
HSummary | 4601. Export super-red unit rate (p/kWh) (copy) (in EDCM charge) (copy) (in Horizontal information) | Copy cells
HSummary | 4601. Export fixed charge p/day (copy) (in EDCM charge) (copy) (in Horizontal information) | Copy cells
HSummary | 4601. Export capacity rate (p/kVA/day) (copy) (in EDCM charge) (copy) (in Horizontal information) | Copy cells
HSummary | 4601. Export exceeded capacity rate (p/kVA/day) (in EDCM charge) (copy) (in Horizontal information) | Copy cells
HSummary | 4601. Capacity charge for demand (£/year) (in Horizontal information) | Calculation
HSummary | 4601. Super red charge for demand (£/year) (in Horizontal information) | Calculation
HSummary | 4601. Fixed charge for demand (£/year) (in Horizontal information) | Calculation
HSummary | 4601. Net capacity charge (or credit) for generation (£/year) (in Horizontal information) | Calculation
HSummary | 4601. Fixed charge for generation (£/year) (in Horizontal information) | Calculation
HSummary | 4601. Super red credit (£/year) (in Horizontal information) | Calculation
HSummary | 4601. Total for demand (£/year) (in Horizontal information) | Calculation
HSummary | 4601. Import charge in previous charging year (£/year) (in Tariff data) (copy) (in Horizontal information) | Copy cells
HSummary | 4601. Change (demand) (£/year) (in Horizontal information) | Calculation
HSummary | 4601. Change (demand) (%) (in Horizontal information) | Calculation
HSummary | 4601. Total for generation (£/year) (in Horizontal information) | Calculation
HSummary | 4601. Export charge in previous charging year (£/year) (in Tariff data) (copy) (in Horizontal information) | Copy cells
HSummary | 4601. Change (generation) (£/year) (in Horizontal information) | Calculation
HSummary | 4601. Change (generation) (%) (in Horizontal information) | Calculation
HSummary | 4601. Fixed charge for demand (unrounded) (£/year) (in Horizontal information) | Calculation
HSummary | 4601. Transmission exit charge (£/year) (in Horizontal information) | Calculation
HSummary | 4601. Direct cost allocation (£/year) (in Horizontal information) | Calculation
HSummary | 4601. Indirect cost allocation (£/year) (in Horizontal information) | Calculation
HSummary | 4601. Network rates allocation (£/year) (in Horizontal information) | Calculation
HSummary | 4601. FCP/LRIC charge (£/year) (in Horizontal information) | Calculation
HSummary | 4601. Demand scaling fixed adder (£/year) (in Horizontal information) | Calculation
HSummary | 4601. Demand scaling asset based (£/year) (in Horizontal information) | Calculation
HSummary | 4601. Check (£/year) (in Horizontal information) | Calculation
HSummary | 4602. This column is not used (in Total for all tariffs (£/year)) | Fixed data
HSummary | 4602. Total for demand across all tariffs (£/year) (in Total for all tariffs (£/year)) | Cell summation
HSummary | 4602. Total for generation across all tariffs (£/year) (in Total for all tariffs (£/year)) | Cell summation
HSummary | 4602. Total for all tariffs (£/year) (in Total for all tariffs (£/year)) | Calculation
Aggregates | 4791. Summary aggregate data part 1 | Copy cells
Aggregates | 4792. Summary aggregate data part 2 | Copy cells
Aggregates | 4793. Summary aggregate data part 3 | Copy cells
Technical model rules and version control
---
PerlModule: EDCM2
activeSheets: Results
checksums: Tariff checksum 5; Model checksum 7
dcp130: 1
dcp183: 1
dcp185: 1
identification: DCP 183 worked example
lowerIntermittentCredit: 1
method: LRIC
newOrder: 1
noNegative: 1
numLocationsDefault: 1200
numTariffsDefault: 600
protect: 1
summaries: 1
template: '%-beta183-LRIC'
transparency: 1
validation: lenientnomsg
version: ~
voltageRulesTransparency: 1
wantTables: 913
'~codeValidation':
Ancillary/CommandLine.pm: 101e9c77e0951c46e30468d56729646d2086881f
Ancillary/ParallelRunning.pm: aedeab53d67db089a553e59c70883ec2120a0c28
Ancillary/Validation.pm: 96f25555ac9f150f8323e94672276d96629bbb9f
Compilation/ImportCalcSqlite.pm: a6be7a6e4477e814be4509bf80ecab883e6a9dda
Compilation/ImportDumpers.pm: 2fd82354cb7e5438f5f3691b7271f5c7ecffd8fa
EDCM2/Assets.pm: 16ee26bc57c450d2224649d37eace2f1bb495f96
EDCM2/Charges.pm: 1e993582ba3a2a453021c9b1b3589359e80392d6
EDCM2/DataPreprocess.pm: b7301640c7ee35c8a5fc20a69d892c41f74b0730
EDCM2/Generation.pm: 4efb1db9c61645a61dcb42126ec9045d8657e689
EDCM2/Inputs.pm: abb71b554579809a7d1bdbf558fb8e5ee4daa715
EDCM2/Ldno.pm: 6af479919d699a63e718576eb3fc090058d37b90
EDCM2/Locations.pm: 0b16da36eec428b645cc67d5eb8902b1aa6be8c3
EDCM2/Master.pm: b3ae12814be7e111668f6dd240a31a4cd47c4062
EDCM2/Scaling.pm: d0df774bda26d792bbf42375c1ccd4e47ab4a886
EDCM2/Sheets.pm: 44c2bddc6749306deefe2369a34ba23486bbf717
EDCM2/Summary.pm: 551e6b570f2047660c2a0979bfe6e9d86a2fa480
SpreadsheetModel/Arithmetic.pm: e34141df00a510cc045fd03f8b50a25d96fc67a6
SpreadsheetModel/Checksum.pm: febcc78ee6597f09ce6cb6992ec77c21ee3646ca
SpreadsheetModel/Columnset.pm: bf4ed530c6330286762a49a4bf7da17807ba19da
SpreadsheetModel/Custom.pm: 548afea635a70440da53ae0791d58058eb320f96
SpreadsheetModel/Dataset.pm: b8dfd43572706128f03c2e33c10d963541f09e75
SpreadsheetModel/GroupBy.pm: d69fd118ce022337f462866910bbe77c2da20909
SpreadsheetModel/Label.pm: 053d8801da63a168d467ae3cf12c6c32325befe3
SpreadsheetModel/Labelset.pm: ee0eb50104977e351e1be4e410bf1f49668fd61d
SpreadsheetModel/Logger.pm: 091dff39b710a2108ad6c15a22bed26e92f8294d
SpreadsheetModel/Notes.pm: 2a6746f93e5acd872d1f7ec2ed973f7993f0fa5b
SpreadsheetModel/Object.pm: f770dfabcdb9d789841f6687c247b4bfd9bf0c32
SpreadsheetModel/Reshape.pm: db327684ed6c50c3084959ea625b473eb287e3c8
SpreadsheetModel/Shortcuts.pm: 81b68efc70dd2263c3478f3ce3269cf6ebb3ee8b
SpreadsheetModel/Stack.pm: 8de817fe546517bdc84ebd9cd9ad3d7f9131038c
SpreadsheetModel/SumProduct.pm: 876e4b18ee3e43381390ea6a261ee17ac06fc171
SpreadsheetModel/WorkbookCreate.pm: 0f9b24b92b14417795dc6704ff1c048efc422047
'~datasetName': DCP 183 worked example
'~datasetSource':
file: DCP 183 worked example.yml
validation: e68b9cdc9c284f713fe46511f7255aa8a38c94a7
Generated on Mon 6 Oct 2014 07:58:30

## 11
General input data for Illustrative DNO in 2013/2014 (DCP 183 worked example)
1100. Company, charging year, data version
| Company | Year | Version
Company, charging year, data version | Illustrative DNO | 2013/2014 | DCP 183 worked example
1105. Diversity allowance between level exit and GSP Group (from CDCM table 2611)
| GSP | 132kV circuits | 132kV/EHV | EHV circuits | EHV/HV | 132kV/HV
Diversity allowance between level exit and GSP Group (from CDCM table 2611) | 6.383% | 12.02% | 12.02% | 23.11% | 23.11% | 12.02%
1113. General inputs
| Days in year | O&M charging rate based on FBPQ data (£/kW/year) | Annual hours in super red | The amount of money that the DNO wants to raise from use of system charges, less transmission exit (£/year) | Transmission exit charges (£/year) | Direct cost (£/year) | Indirect cost (£/year) | Network rates (£/year) | Average adjusted GP (£/year) | GL term from the DG incentive revenue calculation (£/year) | Total CDCM generation capacity 2005-2010 (kVA) | Total CDCM generation capacity post-2010 (kVA)
General inputs | 365 | 0.2 | 190 | 261254114.4253 | 9906203.1353 | 19094363.8634 | 63675341.7013 | 15527639 | 792.436 | 79406.847 | 6570 | 38450
1122. Forecast system simultaneous maximum load (kW) from CDCM users (from CDCM table 2506)
| GSP | 132kV circuits | 132kV/EHV | EHV circuits | EHV/HV | 132kV/HV
Forecast system simultaneous maximum load (kW) from CDCM users (from CDCM table 2506) | 1742552.0685 | 1723838.6087 | 1200742.755 | 1193120.0089 | 1183871.0166 | 506127.0334
1131. Assets in CDCM model (£) (from CDCM table 2705 or 2706)
| GSP | 132kV circuits | 132kV/EHV | EHV circuits | EHV/HV | 132kV/HV | HV circuits | HV/LV | LV circuits | LV customer | HV customer
Assets in CDCM model (£) (from CDCM table 2705 or 2706) |  | 452088808.7769 | 41363137.866 | 148810976.4032 | 115253556.914 | 38089379.1613 | 616099902.6244 | 181319038.7152 | 356106959.2874 | 319407152.2193 | 5828340.908
1132. Override notional asset rate for 132kV/HV (£/kW)
132kV/HV
Override notional asset rate for 132kV/HV (£/kW) | No override
1133. Maximum network use factor
| GSP | 132kV circuits | 132kV/EHV | EHV circuits | EHV/HV | 132kV/HV
Maximum network use factor | #VALUE | 2.246 | 1.558 | 3.29 | 2.38 | 2.768
1134. Minimum network use factor
| GSP | 132kV circuits | 132kV/EHV | EHV circuits | EHV/HV | 132kV/HV
Minimum network use factor | #VALUE | 0.273 | 0.677 | 0.332 | 0.631 | 0.697
1135. Loss adjustment factor to transmission for each network level (from CDCM table 2004)
| GSP | 132kV circuits | 132kV/EHV | EHV circuits | EHV/HV | 132kV/HV
Loss adjustment factor to transmission for each network level (from CDCM table 2004) | 1 | 1.01 | 1.015 | 1.024 | 1.032 | 1.032
1190. Is this the master model containing all the tariff data?
Is this the master model containing all the tariff data?
Enter TRUE or FALSE | FALSE
1191. Baseline EDCM demand aggregates
| Baseline total EDCM peak time consumption (kW) | Baseline total marginal effect of indirect cost adder (kVA) | Baseline total marginal effect of demand adder (kVA) | Baseline revenue from demand charge 1 (£/year)
Baseline EDCM demand aggregates | 266192.9366 | 674540.6549 | 674540.6549 | 1067400.835
1192. Baseline EDCM generation aggregates
| Baseline total chargeable export capacity (kVA) | Baseline total non-exempt 2005-2010 export capacity (kVA) | Baseline total non-exempt post-2010 export capacity (kVA) | Baseline net forecast EDCM generation revenue (£/year)
Baseline EDCM generation aggregates | 476950 | 170600 | 276750 | -153982.4584
1193. Baseline EDCM notional asset aggregates
| Baseline total sole use assets for demand (£) | Baseline total sole use assets for generation (£) | Baseline total notional capacity assets (£) | Baseline total notional consumption assets (£) | Baseline total non sole use notional assets subject to matching (£)
Baseline EDCM notional asset aggregates | 22339603.5545 | 10691707.2169 | 92215007.2365 | 11205904.6322 | 101305496.0876

## 913
Power flow input data for Illustrative DNO in 2013/2014 (DCP 183 worked example)
913. LRIC power flow modelling data
| Location name/ID | Demand or Generation | Linked location (if any) | Local charge 1 £/kVA/year | Remote charge 1 £/kVA/year | Not used | Not used | Maximum demand run: kW | Maximum demand run: kVAr | Not used | Not used
1 | Not used | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | #VALUE! | #VALUE! | 0 | 0
2 | Not used | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | #VALUE! | #VALUE! | 0 | 0
3 | Not used | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | #VALUE! | #VALUE! | 0 | 0
4 | Not used | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | #VALUE! | #VALUE! | 0 | 0
5 | Not used | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | #VALUE! | #VALUE! | 0 | 0
6 | Not used | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | #VALUE! | #VALUE! | 0 | 0
7 | Not used | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | #VALUE! | #VALUE! | 0 | 0
8 | Not used | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | #VALUE! | #VALUE! | 0 | 0
9 | Not used | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | #VALUE! | #VALUE! | 0 | 0
10 | Not used | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | #VALUE! | #VALUE! | 0 | 0
11 | Not used | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | #VALUE! | #VALUE! | 0 | 0
12 | Not used | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | #VALUE! | #VALUE! | 0 | 0

## 935
Tariff input data for Illustrative DNO in 2013/2014 (DCP 183 worked example)
935. Tariff data
Network use factor
| Name | Maximum import capacity (kVA) | Exempt export capacity (kVA) | Non-exempt pre-2005 export capacity (kVA) | Non-exempt 2005-2010 export capacity (kVA) | Non-exempt post-2010 export capacity (kVA) | Sole use asset MEAV (£) | LRIC location | Customer category for demand scaling | 132kV circuits | 132kV/EHV | EHV circuits | EHV/HV | 132kV/HV | Super red kW import divided by kVA capacity | Super red kVAr import divided by kVA capacity | Proportion exposed to indirect cost allocation and fixed adder | Capacity subject to DSM (kVA) | Super red units exported (kWh) | Capacity eligible for GSP generation credits (kW) | Proportion eligible for charge 1 credits | Days for which not a customer | Hours in super-red for which not a customer | Import charge in previous charging year (£/year) | Export charge in previous charging year (£/year) | LLFC import | LLFC export
1 | Mr Full On | 5000 | VOID | VOID | VOID | VOID | 9790 |  | 1111 | 1 | 1 | 1 | 1 | 1 | 0.9 | 0.2 | 1 | [6 empty] | 224415.724 | 0
2 | Mr Load Manager | 5000 | VOID | VOID | VOID | VOID | 9790 |  | 1111 | 1 | 1 | 1 | 1 | 1 | 0.01 | 0.2 | 1 | [6 empty] | 43010.724 | 0
3 | Mr Generator | 5000 | VOID | VOID | VOID | 10000 | 13998 |  | 1111 | 0.273 | 0.677 | 0.332 | 0.631 | 0.697 | 0.1 | 0 | 1 | [6 empty] | 41668.7285 | 3037.457

## Calc
Calculations for Illustrative DNO in 2013/2014 (DCP 183 worked example)
4002. EHV asset levels
Data sources:
| GSP | 132kV circuits | 132kV/EHV | EHV circuits | EHV/HV | 132kV/HV | HV circuits | HV/LV | LV circuits | LV customer | HV customer
EHV asset levels | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
4004. HV and LV network asset levels
Data sources:
| GSP | 132kV circuits | 132kV/EHV | EHV circuits | EHV/HV | 132kV/HV | HV circuits | HV/LV | LV circuits | LV customer | HV customer
HV and LV network asset levels | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0
4006. HV and LV service asset levels
Data sources:
| GSP | 132kV circuits | 132kV/EHV | EHV circuits | EHV/HV | 132kV/HV | HV circuits | HV/LV | LV circuits | LV customer | HV customer
HV and LV service asset levels | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
4008. Aggregate data #1
Data sources:
x1 = 1190. Is this the master model containing all the tariff data?
x2 = 4002. EHV asset levels
x3 = 1131. Assets in CDCM model (£) (from CDCM table 2705 or 2706)
x4 = 4004. HV and LV network asset levels
x5 = 4006. HV and LV service asset levels
x6 = 1122. Forecast system simultaneous maximum load (kW) from CDCM users (from CDCM table 2506)
Kind: | Calculation | Sum-product calculation | Sum-product calculation | Sum-product calculation | Copy cells
Formula: | =IF(ISERROR(x1),TRUE,IF(x1="FALSE",FALSE,IF(x1=FALSE,FALSE,TRUE))) | =SUMPRODUCT(x2, x3) | =SUMPRODUCT(x4, x3) | =SUMPRODUCT(x5, x3) | = x6
| Is this the master model? | EHV assets in CDCM model (£) | HV and LV network assets in CDCM model (£) | HV and LV service assets in CDCM model (£) | Total CDCM peak time consumption (kW)
Aggregate data #1 | FALSE | 795605859.1215 | 1153525900.627 | 325235493.1273 | 1742552.0685
4010. Aggregate data #2
Data sources:
x1 = 1122. Forecast system simultaneous maximum load (kW) from CDCM users (from CDCM table 2506)
x2 = 1131. Assets in CDCM model (£) (from CDCM table 2705 or 2706)
x3 = 1135. Loss adjustment factor to transmission for each network level (from CDCM table 2004)
x4 = 1132. Override notional asset rate for 132kV/HV (£/kW)
x5 = Notional asset rate (£/kW)
x6 = Notional asset rate for 132kV/HV (£/kW)
Kind: | Calculation | [5 empty] | Calculation | Combine tables
Formula: | =IF(x1,x2/x1/x3,0) | [5 empty] | =IF(ISNUMBER(x4),IF(x4,x4,x5),x5) | = x6 or x5
| Notional asset rate (£/kW) | [6 empty] | Notional asset rate adjusted (£/kW)
| GSP | 132kV circuits | 132kV/EHV | EHV circuits | EHV/HV | 132kV/HV | Notional asset rate for 132kV/HV (£/kW) | 132kV circuits | 132kV/EHV | EHV circuits | EHV/HV | 132kV/HV
Aggregate data #2 | 0 | 259.6604 | 33.9389 | 121.801 | 94.3344 | 72.923 | 72.923 | 259.6604 | 33.9389 | 121.801 | 94.3344 | 72.923
4012. Tariff-specific data #1
Data sources:
x1 = 4008. Is this the master model?
x2 = 935. Name (in Tariff data)
x3 = 935. Maximum import capacity (kVA) (in Tariff data)
x4 = 935. Days for which not a customer (in Tariff data)
x5 = 1113. Days in year (in General inputs)
x6 = Maximum import capacity adjusted for part-year (kVA)
x7 = 935. Capacity subject to DSM (kVA) (in Tariff data)
x8 = 935. Non-exempt pre-2005 export capacity (kVA) (in Tariff data)
x9 = 935. Non-exempt 2005-2010 export capacity (kVA) (in Tariff data)
x10 = 935. Non-exempt post-2010 export capacity (kVA) (in Tariff data)
x11 = 935. Capacity eligible for GSP generation credits (kW) (in Tariff data)
x12 = 935. Exempt export capacity (kVA) (in Tariff data)
x13 = Non-exempt pre-2005 export capacity (kVA) adjusted for part-year
x14 = Non-exempt 2005-2010 export capacity (kVA) adjusted for part-year
x15 = Non-exempt post-2010 export capacity (kVA) adjusted for part-year
Kind: | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation
Formula: | =IF(OR(x1,NOT(ISERROR(SEARCH("[ADDED]",x2)))),1,IF(ISERROR(SEARCH("[REMOVED]",x2)),0,-1)) | =x3<>"VOID" | =IF(x3="VOID",0,(x3*(1-x4/x5))) | =x6-(x7*(1-x4/x5)) | =OR(x8<>"VOID",x9<>"VOID",x10<>"VOID") | =IF(x11="VOID",0,x11*(1-x4/x5)) | =IF(x12="VOID",0,x12*(1-x4/x5)) | =IF(x8="VOID",0,x8*(1-x4/x5)) | =IF(x9="VOID",0,x9*(1-x4/x5)) | =IF(x10="VOID",0,x10*(1-x4/x5)) | =x13+x14+x15
| Weighting of each tariff for reconciliation of totals | Has import charges? | Maximum import capacity adjusted for part-year (kVA) | Non-DSM import capacity adjusted for part-year (kVA) | Has export charges? | Capacity eligible for GSP generation credits (kW) adjusted for part-year | Exempt export capacity (kVA) adjusted for part-year | Non-exempt pre-2005 export capacity (kVA) adjusted for part-year | Non-exempt 2005-2010 export capacity (kVA) adjusted for part-year | Non-exempt post-2010 export capacity (kVA) adjusted for part-year | Chargeable export capacity adjusted for part-year (kVA)
1 | 0 | TRUE | 5000 | 5000 | FALSE | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | TRUE | 5000 | 5000 | FALSE | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | TRUE | 5000 | 5000 | TRUE | 0 | 0 | 0 | 0 | 10000 | 10000
4014. Rules applicable to customer categories
Treatment of network assets (1: capacity; 2+: consumption)
| Mapping of customer category to loss factor | 132kV circuits | 132kV/EHV | EHV circuits | EHV/HV | 132kV/HV
Category 0000 | 1 | 0 | 0 | 0 | 0 | 0
Category 1000 | 2 | 1 | 0 | 0 | 0 | 0
Category 0100 | 3 | 0 | 1 | 0 | 0 | 0
Category 1100 | 3 | 2 | 1 | 0 | 0 | 0
Category 0010 | 4 | 0 | 0 | 1 | 0 | 0
Not used
Category 0110 | 4 | 0 | 2 | 1 | 0 | 0
Category 1110 | 4 | 3 | 2 | 1 | 0 | 0
Category 0001 | 6 | 0 | 0 | 0 | 0 | 1
Category 1001 | 6 | 3 | 0 | 0 | 0 | 1
Category 0101 | 5 | 0 | 2 | 0 | 1 | 0
Category 1101 | 5 | 3 | 2 | 0 | 1 | 0
Category 0011 | 5 | 0 | 0 | 2 | 1 | 0
Not used
Category 0111 | 5 | 0 | 3 | 2 | 1 | 0
Category 1111 | 5 | 4 | 3 | 2 | 1 | 0
Category 0002 | 5 | 0 | 0 | 0 | 1 | 0
4016. Fixed parameter data #1
| EHV operating expenditure intensity | Power factor in 500 MW model | Factor for the allocation of capacity scaling | Proportion of residual to go into fixed adder
Fixed parameter data #1 | 0.68 | 0.95 | 0.5 | 0.2
4018. Tariff-specific data #2
Data sources:
x1 = 935. Super red kW import divided by kVA capacity (in Tariff data)
x2 = 935. Hours in super-red for which not a customer (in Tariff data)
x3 = 1113. Annual hours in super red (in General inputs)
x4 = 935. Days for which not a customer (in Tariff data)
x5 = 1113. Days in year (in General inputs)
x6 = 935. Super red kVAr import divided by kVA capacity (in Tariff data)
x7 = 4012. Maximum import capacity adjusted for part-year (kVA)
x8 = 935. Sole use asset MEAV (£) (in Tariff data)
x9 = 4012. Exempt export capacity (kVA) adjusted for part-year
x10 = 4012. Chargeable export capacity adjusted for part-year (kVA)
x11 = Sole use asset MEAV for demand (£)
x12 = Sole use asset MEAV for non-exempt generation (£)
x13 = Super red kW divided by kVA adjusted for part-year
x14 = Super red kVAr divided by kVA adjusted for part-year
x15 = 935. Customer category for demand scaling (in Tariff data)
x16 = 1135. Loss adjustment factor to transmission for each network level (from CDCM table 2004)
x17 = 4014. Mapping of customer category to loss factor (in Rules applicable to customer categories)
x18 = Index of customer category
x19 = Loss factor to transmission
x20 = Super-red kVAr/agreed kVA (capped)
x21 = 4016. Power factor in 500 MW model
Kind: | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation
Formula: | =x1*(1-x2/x3)/(1-x4/x5) | =x6*(1-x2/x3)/(1-x4/x5) | =IF(x7,x8*x7/(x7+x9+x10),0) | =IF(x10,x8*x10/(x7+x9+x10),0) | =x11*(1-x4/x5) | =x12*(1-x4/x5) | =MAX(MIN(SQRT(1-MIN(1,x13)^2),x14),0-SQRT(1-MIN(1,x13)^2)) | =1+(38*MOD(x15,10)+(19*MOD(x15,100)+(19*MOD(x15,1000)+x15)/20)/10)/5 | =INDEX(x16,INDEX(x17,x18)) | =x13*x19 | =SQRT(x13*x13+x20*x20)*x21*x19 | =x19*x21
| Super red kW divided by kVA adjusted for part-year | Super red kVAr divided by kVA adjusted for part-year | Sole use asset MEAV for demand (£) | Sole use asset MEAV for non-exempt generation (£) | Demand sole use asset MEAV adjusted for part-year (£) | Generation sole use asset MEAV adjusted for part-year (£) | Super-red kVAr/agreed kVA (capped) | Index of customer category | Loss factor to transmission | Peak-time active power consumption adjusted to transmission (kW/kVA) | Peak-time capacity use adjusted to transmission (kW/kVA) | Active power equivalent of capacity adjusted to transmission (kW/kVA)
1 | 0.9 | 0.2 | 9790 | 0 | 9790 | 0 | 0.2 | 16 | 1.032 | 0.9288 | 0.90388 | 0.9804
2 | 0.01 | 0.2 | 9790 | 0 | 9790 | 0 | 0.2 | 16 | 1.032 | 0.01032 | 0.19632 | 0.9804
3 | 0.1 | 0 | 4666 | 9332 | 4666 | 9332 | 0 | 16 | 1.032 | 0.1032 | 0.09804 | 0.9804
4020. Tariff-specific data #3
Data sources:
x1 = 4014. Treatment of network assets (1: capacity; 2+: consumption) (in Rules applicable to customer categories)
x2 = 4018. Index of customer category
x3 = 935. Network use factor (in Tariff data)
x4 = 4018. Active power equivalent of capacity adjusted to transmission (kW/kVA)
x5 = 1105. Diversity allowance between level exit and GSP Group (from CDCM table 2611)
x6 = Adjusted network use by capacity
x7 = 4010. Notional asset rate adjusted (£/kW)
x8 = 4018. Peak-time capacity use adjusted to transmission (kW/kVA)
x9 = Adjusted network use by consumption
Kind: | Special calculation |  |  |  |  | Sum-product calculation | Special calculation |  |  |  |  | Sum-product calculation
Formula: | =IF(INDEX(x1,x2)=1,x3*x4/(1+x5),0) |  |  |  |  | =SUMPRODUCT(x6, x7) | =IF(INDEX(x1,x2)=1,x3*x8,0) |  |  |  |  | =SUMPRODUCT(x9, x7)
| Adjusted network use by capacity | [5 empty] | Adjusted network use by consumption
| 132kV circuits | 132kV/EHV | EHV circuits | EHV/HV | 132kV/HV | Capacity assets (£/kVA) | 132kV circuits | 132kV/EHV | EHV circuits | EHV/HV | 132kV/HV | Consumption assets (£/kVA)
1 | 0 | 0 | 0 | 0.79635 | 0 | 75.1234 | 0.90388 | 0.90388 | 0.90388 | 0 | 0 | 375.4738
2 | 0 | 0 | 0 | 0.79635 | 0 | 75.1234 | 0.19632 | 0.19632 | 0.19632 | 0 | 0 | 81.5534
3 | 0 | 0 | 0 | 0.5025 | 0 | 47.4029 | 0.026765 | 0.066373 | 0.032549 | 0 | 0 | 13.167
4022. Network use factors (second set)
Data sources:
x1 = 1134. Minimum network use factor
x2 = 935. Network use factor (in Tariff data)
x3 = 1133. Maximum network use factor
Calculation =MAX(x1+0,MIN(x2+0,x3+0))
| 132kV circuits | 132kV/EHV | EHV circuits | EHV/HV | 132kV/HV
1 | 1 | 1 | 1 | 1 | 1
2 | 1 | 1 | 1 | 1 | 1
3 | 0.273 | 0.677 | 0.332 | 0.631 | 0.697
4024. Tariff-specific data #4
Data sources:
x1 = 4014. Treatment of network assets (1: capacity; 2+: consumption) (in Rules applicable to customer categories)
x2 = 4018. Index of customer category
x3 = 4022. Network use factors (second set)
x4 = 4018. Active power equivalent of capacity adjusted to transmission (kW/kVA)
x5 = 1105. Diversity allowance between level exit and GSP Group (from CDCM table 2611)
x6 = Second set of adjusted network use by capacity
x7 = 4010. Notional asset rate adjusted (£/kW)
x8 = 4018. Peak-time capacity use adjusted to transmission (kW/kVA)
x9 = Second set of adjusted network use by consumption
Kind: | Special calculation |  |  |  |  | Sum-product calculation | Special calculation |  |  |  |  | Sum-product calculation
Formula: | =IF(INDEX(x1,x2)=1,x3*x4/(1+x5),0) |  |  |  |  | =SUMPRODUCT(x6, x7) | =IF(INDEX(x1,x2)=1,x3*x8,0) |  |  |  |  | =SUMPRODUCT(x9, x7)
| Second set of adjusted network use by capacity | [5 empty] | Second set of adjusted network use by consumption
| 132kV circuits | 132kV/EHV | EHV circuits | EHV/HV | 132kV/HV | Second set of capacity assets (£/kVA) | 132kV circuits | 132kV/EHV | EHV circuits | EHV/HV | 132kV/HV | Second set of consumption assets (£/kVA)
1 | 0 | 0 | 0 | 0.79635 | 0 | 75.1234 | 0.90388 | 0.90388 | 0.90388 | 0 | 0 | 375.4738
2 | 0 | 0 | 0 | 0.79635 | 0 | 75.1234 | 0.19632 | 0.19632 | 0.19632 | 0 | 0 | 81.5534
3 | 0 | 0 | 0 | 0.5025 | 0 | 47.4029 | 0.026765 | 0.066373 | 0.032549 | 0 | 0 | 13.167
4026. Tariff-specific data #5
Data sources:
x1 = 935. LRIC location (in Tariff data)
x2 = 913. Location name/ID (in LRIC power flow modelling data)
x3 = 913. Linked location (if any) (in LRIC power flow modelling data)
x4 = Location
x5 = Linked location 1
x6 = Linked location 2
x7 = Linked location 3
x8 = Linked location 4
x9 = Linked location 5
x10 = Linked location 6
Kind: | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation
Formula: | =MATCH(x1,x2,0) | =MATCH(INDEX(x3,x4),x2,0) | =MATCH(INDEX(x3,x5),x2,0) | =MATCH(INDEX(x3,x6),x2,0) | =MATCH(INDEX(x3,x7),x2,0) | =MATCH(INDEX(x3,x8),x2,0) | =MATCH(INDEX(x3,x9),x2,0) | =MATCH(INDEX(x3,x10),x2,0)
| Location | Linked location 1 | Linked location 2 | Linked location 3 | Linked location 4 | Linked location 5 | Linked location 6 | Linked location 7
1 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
2 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
3 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
4028. Tariff-specific data #6
Data sources:
x1 = 4026. Location
x2 = 913. Local charge 1 £/kVA/year (in LRIC power flow modelling data)
x3 = 4026. Linked location 1
x4 = 4026. Linked location 2
x5 = 4026. Linked location 3
x6 = 4026. Linked location 4
x7 = 4026. Linked location 5
x8 = 4026. Linked location 6
x9 = 4026. Linked location 7
Kind: | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation
Formula: | =IF(ISNUMBER(x1),MAX(0,INDEX(x2,x1)),0) | =IF(ISNUMBER(x3),MAX(0,INDEX(x2,x3)),0) | =IF(ISNUMBER(x4),MAX(0,INDEX(x2,x4)),0) | =IF(ISNUMBER(x5),MAX(0,INDEX(x2,x5)),0) | =IF(ISNUMBER(x6),MAX(0,INDEX(x2,x6)),0) | =IF(ISNUMBER(x7),MAX(0,INDEX(x2,x7)),0) | =IF(ISNUMBER(x8),MAX(0,INDEX(x2,x8)),0) | =IF(ISNUMBER(x9),MAX(0,INDEX(x2,x9)),0)
| Local charge 1 £/kVA/year at Location | Local charge 1 £/kVA/year at Linked location 1 | Local charge 1 £/kVA/year at Linked location 2 | Local charge 1 £/kVA/year at Linked location 3 | Local charge 1 £/kVA/year at Linked location 4 | Local charge 1 £/kVA/year at Linked location 5 | Local charge 1 £/kVA/year at Linked location 6 | Local charge 1 £/kVA/year at Linked location 7
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4030. Tariff-specific data #7
Data sources:
x1 = 4026. Location
x2 = 913. Remote charge 1 £/kVA/year (in LRIC power flow modelling data)
x3 = 4026. Linked location 1
x4 = 4026. Linked location 2
x5 = 4026. Linked location 3
x6 = 4026. Linked location 4
x7 = 4026. Linked location 5
x8 = 4026. Linked location 6
x9 = 4026. Linked location 7
Kind: | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation
Formula: | =IF(ISNUMBER(x1),MAX(0,INDEX(x2,x1)),0) | =IF(ISNUMBER(x3),MAX(0,INDEX(x2,x3)),0) | =IF(ISNUMBER(x4),MAX(0,INDEX(x2,x4)),0) | =IF(ISNUMBER(x5),MAX(0,INDEX(x2,x5)),0) | =IF(ISNUMBER(x6),MAX(0,INDEX(x2,x6)),0) | =IF(ISNUMBER(x7),MAX(0,INDEX(x2,x7)),0) | =IF(ISNUMBER(x8),MAX(0,INDEX(x2,x8)),0) | =IF(ISNUMBER(x9),MAX(0,INDEX(x2,x9)),0)
| Network charge 1 £/kVA/year at Location | Network charge 1 £/kVA/year at Linked location 1 | Network charge 1 £/kVA/year at Linked location 2 | Network charge 1 £/kVA/year at Linked location 3 | Network charge 1 £/kVA/year at Linked location 4 | Network charge 1 £/kVA/year at Linked location 5 | Network charge 1 £/kVA/year at Linked location 6 | Network charge 1 £/kVA/year at Linked location 7
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4032. Tariff-specific data #8
Data sources:
x1 = 4026. Location
x2 = 913. Maximum demand run: kW (in LRIC power flow modelling data)
x3 = 913. Maximum demand run: kVAr (in LRIC power flow modelling data)
x4 = 4026. Linked location 1
x5 = 4026. Linked location 2
x6 = 4026. Linked location 3
x7 = 4026. Linked location 4
x8 = 4026. Linked location 5
x9 = 4026. Linked location 6
x10 = 4026. Linked location 7
Kind: | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation
Formula: | =IF(ISNUMBER(x1),SQRT(INDEX(x2,x1)^2+INDEX(x3,x1)^2),0) | =IF(ISNUMBER(x4),SQRT(INDEX(x2,x4)^2+INDEX(x3,x4)^2),0) | =IF(ISNUMBER(x5),SQRT(INDEX(x2,x5)^2+INDEX(x3,x5)^2),0) | =IF(ISNUMBER(x6),SQRT(INDEX(x2,x6)^2+INDEX(x3,x6)^2),0) | =IF(ISNUMBER(x7),SQRT(INDEX(x2,x7)^2+INDEX(x3,x7)^2),0) | =IF(ISNUMBER(x8),SQRT(INDEX(x2,x8)^2+INDEX(x3,x8)^2),0) | =IF(ISNUMBER(x9),SQRT(INDEX(x2,x9)^2+INDEX(x3,x9)^2),0) | =IF(ISNUMBER(x10),SQRT(INDEX(x2,x10)^2+INDEX(x3,x10)^2),0)
| Maximum demand run kVA at Location | Maximum demand run kVA at Linked location 1 | Maximum demand run kVA at Linked location 2 | Maximum demand run kVA at Linked location 3 | Maximum demand run kVA at Linked location 4 | Maximum demand run kVA at Linked location 5 | Maximum demand run kVA at Linked location 6 | Maximum demand run kVA at Linked location 7
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4034. Tariff-specific data #9
Data sources:
x1 = 4032. Maximum demand run kVA at Location
x2 = 4032. Maximum demand run kVA at Linked location 1
x3 = 4032. Maximum demand run kVA at Linked location 2
x4 = 4032. Maximum demand run kVA at Linked location 3
x5 = 4032. Maximum demand run kVA at Linked location 4
x6 = 4032. Maximum demand run kVA at Linked location 5
x7 = 4032. Maximum demand run kVA at Linked location 6
x8 = 4032. Maximum demand run kVA at Linked location 7
x9 = 4026. Location
x10 = 4026. Linked location 1
x11 = 4026. Linked location 2
x12 = 4026. Linked location 3
x13 = 4026. Linked location 4
x14 = 4026. Linked location 5
x15 = 4026. Linked location 6
x16 = 4026. Linked location 7
x17 = 4028. Local charge 1 £/kVA/year at Location
x18 = 4028. Local charge 1 £/kVA/year at Linked location 1
x19 = 4028. Local charge 1 £/kVA/year at Linked location 2
x20 = 4028. Local charge 1 £/kVA/year at Linked location 3
x21 = 4028. Local charge 1 £/kVA/year at Linked location 4
x22 = 4028. Local charge 1 £/kVA/year at Linked location 5
x23 = 4028. Local charge 1 £/kVA/year at Linked location 6
x24 = 4028. Local charge 1 £/kVA/year at Linked location 7
x25 = 4030. Network charge 1 £/kVA/year at Location
x26 = 4030. Network charge 1 £/kVA/year at Linked location 1
x27 = 4030. Network charge 1 £/kVA/year at Linked location 2
x28 = 4030. Network charge 1 £/kVA/year at Linked location 3
x29 = 4030. Network charge 1 £/kVA/year at Linked location 4
x30 = 4030. Network charge 1 £/kVA/year at Linked location 5
x31 = 4030. Network charge 1 £/kVA/year at Linked location 6
x32 = 4030. Network charge 1 £/kVA/year at Linked location 7
x33 = 913. Maximum demand run: kW (in LRIC power flow modelling data)
x34 = Total active power in maximum demand scenario (kW)
x35 = 913. Maximum demand run: kVAr (in LRIC power flow modelling data)
Kind: | Calculation | Calculation | Calculation | Calculation
Formula: | =IF(x1+x2+x3+x4+x5+x6+x7+x8=0,IF(COUNT(x9,x10,x11,x12,x13,x14,x15,x16),(x17+x18+x19+x20+x21+x22+x23+x24)/COUNT(x9,x10,x11,x12,x13,x14,x15,x16),0),(x1*x17+x2*x18+x3*x19+x4*x20+x5*x21+x6*x22+x7*x23+x8*x24)/(x1+x2+x3+x4+x5+x6+x7+x8)) | =IF(x1+x2+x3+x4+x5+x6+x7+x8=0,IF(COUNT(x9,x10,x11,x12,x13,x14,x15,x16),(x25+x26+x27+x28+x29+x30+x31+x32)/COUNT(x9,x10,x11,x12,x13,x14,x15,x16),0),(x1*x25+x2*x26+x3*x27+x4*x28+x5*x29+x6*x30+x7*x31+x8*x32)/(x1+x2+x3+x4+x5+x6+x7+x8)) | =0-IF(ISNUMBER(x9),INDEX(x33,x9),0)-IF(ISNUMBER(x10),INDEX(x33,x10),0)-IF(ISNUMBER(x11),INDEX(x33,x11),0)-IF(ISNUMBER(x12),INDEX(x33,x12),0)-IF(ISNUMBER(x13),INDEX(x33,x13),0)-IF(ISNUMBER(x14),INDEX(x33,x14),0)-IF(ISNUMBER(x15),INDEX(x33,x15),0)-IF(ISNUMBER(x16),INDEX(x33,x16),0) | =IF(x34=0,1,MAX(1,SQRT(x34^2+(IF(ISNUMBER(x9),INDEX(x35,x9),0)+IF(ISNUMBER(x10),INDEX(x35,x10),0)+IF(ISNUMBER(x11),INDEX(x35,x11),0)+IF(ISNUMBER(x12),INDEX(x35,x12),0)+IF(ISNUMBER(x13),INDEX(x35,x13),0)+IF(ISNUMBER(x14),INDEX(x35,x14),0)+IF(ISNUMBER(x15),INDEX(x35,x15),0)+IF(ISNUMBER(x16),INDEX(x35,x16),0))^2)/x34))
| Average local charge 1 (£/kVA/year) | Average network charge 1 (£/kVA/year) | Total active power in maximum demand scenario (kW) | Inverse power factor, maximum demand (kVA/kW)
1 | 0 | 0 | 0 | 1
2 | 0 | 0 | 0 | 1
3 | 0 | 0 | 0 | 1
4036. Tariff-specific data #10
Data sources:
x1 = 4034. Average network charge 1 (£/kVA/year)
x2 = 935. Super red kW import divided by kVA capacity (in Tariff data)
x3 = 4034. Inverse power factor, maximum demand (kVA/kW)
x4 = 1113. Days in year (in General inputs)
x5 = 4034. Average local charge 1 (£/kVA/year)
x6 = 1113. Annual hours in super red (in General inputs)
x7 = 935. Proportion eligible for charge 1 credits (in Tariff data)
x8 = 4012. Chargeable export capacity adjusted for part-year (kVA)
x9 = Generation credit (before exempt adjustment) p/kWh
x10 = 4012. Exempt export capacity (kVA) adjusted for part-year
x11 = Generation credit (unrounded) p/kWh
Kind: | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation
Formula: | =100*(x1*x2*x3)/x4 | =100*x5/x4 | =100*(x1*x3)/x6 | =-100*x7*(x5+x1)/x6 | =IF(x8,(x9*x8/(x8+x10)),0) | =ROUND(x11,3)
| Import demand charge p/kVA/day | Import capacity charge p/kVA/day | Super red rate p/kWh | Generation credit (before exempt adjustment) p/kWh | Generation credit (unrounded) p/kWh | Export super-red unit rate (p/kWh)
1 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0
4038. Tariff-specific data #11
Data sources:
x1 = 4012. Maximum import capacity adjusted for part-year (kVA)
x2 = 4012. Non-DSM import capacity adjusted for part-year (kVA)
x3 = 4036. Import capacity charge p/kVA/day
x4 = 4036. Super red rate p/kWh
x5 = 935. Super red kW import divided by kVA capacity (in Tariff data)
x6 = 1113. Annual hours in super red (in General inputs)
x7 = 935. Hours in super-red for which not a customer (in Tariff data)
x8 = 1113. Days in year (in General inputs)
x9 = 935. Days for which not a customer (in Tariff data)
x10 = 4018. Super red kW divided by kVA adjusted for part-year
x11 = 4018. Super-red kVAr/agreed kVA (capped)
x12 = 935. Proportion exposed to indirect cost allocation and fixed adder (in Tariff data)
x13 = 4016. Factor for the allocation of capacity scaling
x14 = Peak-time capacity use per kVA of agreed capacity
x15 = 4024. Second set of capacity assets (£/kVA)
x16 = 4024. Second set of consumption assets (£/kVA)
Kind: | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation
Formula: | =IF(x1=0,0,(1-x2/x1)*(x3+IF(x5=0,0,(x4*x5*(x6-x7)/(x8-x9))))) | =IF(x1=0,1,x2/x1)*x4 | =IF(x1=0,1,x2/x1)*x3 | =x6-x7 | =SQRT(x10*x10+x11*x11) | =x12*(x13+x14) | =(x15+x16)*x1
| Adjustment to exceeded import capacity charge for DSM (p/kVA/day) | Super red unit rate adjusted for DSM (p/kWh) | Import capacity charge from charge 1 (p/kVA/day) | Number of super-red hours connected in year | Peak-time capacity use per kVA of agreed capacity | Data for capacity-based allocation of indirect costs | Non sole use notional assets subject to matching (£)
1 | 0 | 0 | 0 | 190 | 0.92195 | 1.422 | 2252985.8886
2 | 0 | 0 | 0 | 190 | 0.20025 | 0.70025 | 783384.3215
3 | 0 | 0 | 0 | 190 | 0.1 | 0.6 | 302849.1545
4040. Aggregate data #3
Data sources:
x1 = 1193. Baseline total sole use assets for demand (£) (in Baseline EDCM notional asset aggregates)
x2 = 4008. Is this the master model?
x3 = 4018. Demand sole use asset MEAV adjusted for part-year (£)
x4 = 4012. Weighting of each tariff for reconciliation of totals
x5 = 1193. Baseline total notional capacity assets (£) (in Baseline EDCM notional asset aggregates)
x6 = 4020. Capacity assets (£/kVA)
x7 = 4012. Maximum import capacity adjusted for part-year (kVA)
x8 = 1193. Baseline total notional consumption assets (£) (in Baseline EDCM notional asset aggregates)
x9 = 4020. Consumption assets (£/kVA)
x10 = 1193. Baseline total sole use assets for generation (£) (in Baseline EDCM notional asset aggregates)
x11 = 4018. Generation sole use asset MEAV adjusted for part-year (£)
x12 = Total sole use assets for demand (£)
x13 = Capacity assets (£)
x14 = Consumption assets (£)
x15 = Total sole use assets for generation (£)
x16 = 1191. Baseline total EDCM peak time consumption (kW) (in Baseline EDCM demand aggregates)
x17 = 4018. Peak-time active power consumption adjusted to transmission (kW/kVA)
x18 = 4008. Total CDCM peak time consumption (kW)
x19 = Total EDCM peak time consumption (kW)
x20 = 1113. Transmission exit charges (£/year) (in General inputs)
x21 = Estimated total peak-time consumption (kW)
x22 = 1113. Direct cost (£/year) (in General inputs)
x23 = All notional assets in EDCM (£)
x24 = 4008. EHV assets in CDCM model (£)
x25 = 4008. HV and LV network assets in CDCM model (£)
x26 = 4008. HV and LV service assets in CDCM model (£)
x27 = 4016. EHV operating expenditure intensity
x28 = 1113. Network rates (£/year) (in General inputs)
x29 = 1113. Indirect cost (£/year) (in General inputs)
x30 = Indirect cost charging rate
Kind: | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation
Formula: | =IF(x2,0,x1)+SUMPRODUCT(x3,x4) | =IF(x2,0,x5)+SUMPRODUCT(x6,x7,x4) | =IF(x2,0,x8)+SUMPRODUCT(x9,x7,x4) | =IF(x2,0,x10)+SUMPRODUCT(x11,x4) | =x12+x13+x14+x15 | =IF(x2,0,x16)+SUMPRODUCT(x4,x17,x7) | =x18+x19 | =x20/x21 | =x22/(x23+x24+(x25+x26)/x27) | =x28/(x23+x24+x25+x26) | =x29/(x23+x24+(x25+x26)/x27) | =x30*(x23-x15)
| Total sole use assets for demand (£) | Capacity assets (£) | Consumption assets (£) | Total sole use assets for generation (£) | All notional assets in EDCM (£) | Total EDCM peak time consumption (kW) | Estimated total peak-time consumption (kW) | Transmission exit charging rate (£/kW/year) | Direct cost charging rate | Network rates charging rate | Indirect cost charging rate | Indirect costs on EDCM demand (£/year)
Aggregate data #3 | 22339603.5545 | 92215007.2365 | 11205904.6322 | 10691707.2169 | 136452222.6402 | 266192.9366 | 2008745.0051 | 4.9315 | 0.6146% | 0.6441% | 2.05% | 2577598.4996
4042. Aggregate data #4
Data sources:
x1 = 4040. Direct cost charging rate
x2 = 4040. Capacity assets (£)
x3 = 4040. Consumption assets (£)
x4 = 4040. Network rates charging rate
x5 = 1192. Baseline total chargeable export capacity (kVA) (in Baseline EDCM generation aggregates)
x6 = 4008. Is this the master model?
x7 = 4012. Chargeable export capacity adjusted for part-year (kVA)
x8 = 4012. Weighting of each tariff for reconciliation of totals
x9 = 1192. Baseline total non-exempt 2005-2010 export capacity (kVA) (in Baseline EDCM generation aggregates)
x10 = 4012. Non-exempt 2005-2010 export capacity (kVA) adjusted for part-year
x11 = 1192. Baseline total non-exempt post-2010 export capacity (kVA) (in Baseline EDCM generation aggregates)
x12 = 4012. Non-exempt post-2010 export capacity (kVA) adjusted for part-year
x13 = 1113. O&M charging rate based on FBPQ data (£/kW/year) (in General inputs)
x14 = Non-exempt 2005-2010 export capacity (kVA) adjusted for part-year (total)
x15 = Chargeable export capacity adjusted for part-year (kVA) (total)
x16 = 1113. Average adjusted GP (£/year) (in General inputs)
x17 = Non-exempt post-2010 export capacity (kVA) adjusted for part-year (total)
x18 = 1113. Total CDCM generation capacity post-2010 (kVA) (in General inputs)
x19 = 1113. GL term from the DG incentive revenue calculation (£/year) (in General inputs)
x20 = 1113. Total CDCM generation capacity 2005-2010 (kVA) (in General inputs)
x21 = 1113. Days in year (in General inputs)
x22 = 1191. Baseline revenue from demand charge 1 (£/year) (in Baseline EDCM demand aggregates)
x23 = 4038. Import capacity charge from charge 1 (p/kVA/day)
x24 = 4012. Maximum import capacity adjusted for part-year (kVA)
x25 = 4038. Super red unit rate adjusted for DSM (p/kWh)
x26 = 935. Super red kW import divided by kVA capacity (in Tariff data)
x27 = 935. Maximum import capacity (kVA) (in Tariff data)
x28 = 4038. Number of super-red hours connected in year
x29 = 1191. Baseline total marginal effect of indirect cost adder (kVA) (in Baseline EDCM demand aggregates)
x30 = 4038. Data for capacity-based allocation of indirect costs
x31 = 4040. Indirect costs on EDCM demand (£/year)
x32 = Total marginal effect of indirect cost adder
x33 = 1193. Baseline total non sole use notional assets subject to matching (£) (in Baseline EDCM notional asset aggregates)
x34 = 4038. Non sole use notional assets subject to matching (£)
Kind: | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation
Formula: | =x1*(x2+x3) | =x4*(x2+x3) | =IF(x6,0,x5)+SUMPRODUCT(x7,x8) | =IF(x6,0,x9)+SUMPRODUCT(x10,x8) | =IF(x6,0,x11)+SUMPRODUCT(x12,x8) | =(x13*(1-x14/x15)+(x16*x17/(x17+x18)+x19*x14/(x14+x20))/x15)*100/x21 | =IF(x6,0,x22)+(SUMPRODUCT(x8,x23,x24)+SUMPRODUCT(x8,x25,x26,x27,x28)/x21)*x21/100 | =IF(x6,0,x29)+SUMPRODUCT(x8,x30,x24) | =IF(x31,x31/x32,0) | =IF(x6,0,x33)+SUMPRODUCT(x8,x34)
| Direct costs on EDCM demand except through sole use asset charges (£/year) | Network rates on EDCM demand except through sole use asset charges (£/year) | Chargeable export capacity adjusted for part-year (kVA) (total) | Non-exempt 2005-2010 export capacity (kVA) adjusted for part-year (total) | Non-exempt post-2010 export capacity (kVA) adjusted for part-year (total) | Export capacity charge p/kVA/day | Revenue from demand charge 1 (£/year) | Total marginal effect of indirect cost adder | Indirect costs application rate | Total non sole use notional assets subject to matching (£)
Aggregate data #4 | 635642.9497 | 666114.8215 | 476950 | 170600 | 276750 | 0.079517 | 1067400.835 | 674540.6549 | 3.8213 | 101305496.0876
4044. Tariff-specific data #12
Data sources:
x1 = 4012. Has import charges?
x2 = 1113. Days in year (in General inputs)
x3 = 4018. Sole use asset MEAV for demand (£)
x4 = 4040. Direct cost charging rate
x5 = 4040. Network rates charging rate
x6 = 4018. Generation sole use asset MEAV adjusted for part-year (£)
x7 = 4018. Sole use asset MEAV for non-exempt generation (£)
x8 = Export fixed charge (unrounded) p/day
x9 = 4012. Chargeable export capacity adjusted for part-year (kVA)
x10 = 4040. Transmission exit charging rate (£/kW/year)
x11 = 4012. Capacity eligible for GSP generation credits (kW) adjusted for part-year
x12 = 4012. Has export charges?
x13 = 4042. Export capacity charge p/kVA/day
x14 = Export capacity charge (unrounded) p/kVA/day
x15 = Generation credit (unrounded) p/kVA/day
x16 = Net export capacity charge (or credit) (unrounded) (p/kVA/day)
x17 = 4018. Peak-time active power consumption adjusted to transmission (kW/kVA)
x18 = Capacity charge p/kVA/day (exit only)
x19 = 4038. Import capacity charge from charge 1 (p/kVA/day)
x20 = Import capacity charge before scaling (p/kVA/day)
x21 = 4042. Indirect costs application rate
x22 = 4038. Data for capacity-based allocation of indirect costs
Kind: | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation
Formula: | =IF(x1,(100/x2*x3*(x4+x5)),0) | =100/x2*x6*(x4+x5) | =100/x2*x7*(x4+x5) | =ROUND(x8,2) | =IF(x9,-100*x10/x2*x11/x9,0) | =IF(x12,x13,0) | =ROUND(x14,2) | =IF(x12,(x14+x15),0) | =ROUND(x16,2) | =100/x2*x10*x17 | =x18+x19 | =x20+x21*x22*100/x2
| Demand fixed charge p/day | Generation fixed charge p/day (scaled for part year) | Export fixed charge (unrounded) p/day | Export fixed charge p/day | Generation credit (unrounded) p/kVA/day | Export capacity charge (unrounded) p/kVA/day | Export capacity charge (p/kVA/day) | Net export capacity charge (or credit) (unrounded) (p/kVA/day) | Export capacity rate (p/kVA/day) | Capacity charge p/kVA/day (exit only) | Import capacity charge before scaling (p/kVA/day) | Capacity charge after applying indirect cost charge p/kVA/day
1 | 33.7607 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2549 | 1.2549 | 2.7436
2 | 33.7607 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.013943 | 0.013943 | 0.74705
3 | 16.0907 | 32.1813 | 32.1813 | 32.18 | 0 | 0.079517 | 0.08 | 0.079517 | 0.08 | 0.13943 | 0.13943 | 0.76759
4046. Aggregate data #5
Data sources:
x1 = 1192. Baseline net forecast EDCM generation revenue (£/year) (in Baseline EDCM generation aggregates)
x2 = 4008. Is this the master model?
x3 = 4012. Weighting of each tariff for reconciliation of totals
x4 = 4036. Export super-red unit rate (p/kWh)
x5 = 935. Super red units exported (kWh) (in Tariff data)
x6 = 4044. Export capacity rate (p/kVA/day)
x7 = 4012. Chargeable export capacity adjusted for part-year (kVA)
x8 = 1113. Days in year (in General inputs)
x9 = 4044. Generation fixed charge p/day (scaled for part year)
x10 = 4040. Transmission exit charging rate (£/kW/year)
x11 = 4040. Total EDCM peak time consumption (kW)
x12 = 4040. Total sole use assets for demand (£)
x13 = 4040. Capacity assets (£)
x14 = 4040. Consumption assets (£)
x15 = 4040. Direct cost charging rate
x16 = 4040. Network rates charging rate
x17 = 4040. Indirect cost charging rate
x18 = 1113. The amount of money that the DNO wants to raise from use of system charges, less transmission exit (£/year) (in General inputs)
x19 = 1113. Direct cost (£/year) (in General inputs)
x20 = 1113. Indirect cost (£/year) (in General inputs)
x21 = 1113. Network rates (£/year) (in General inputs)
x22 = Net forecast EDCM generation revenue (£/year)
x23 = 4008. EHV assets in CDCM model (£)
x24 = 4008. HV and LV network assets in CDCM model (£)
x25 = Demand revenue target pot (£/year)
x26 = 4042. Revenue from demand charge 1 (£/year)
x27 = Additional amount to be recovered (£/year)
x28 = 4040. Indirect costs on EDCM demand (£/year)
x29 = 4042. Direct costs on EDCM demand except through sole use asset charges (£/year)
x30 = 4042. Network rates on EDCM demand except through sole use asset charges (£/year)
x31 = 4016. Proportion of residual to go into fixed adder
x32 = Residual residual (£/year)
x33 = 4042. Total non sole use notional assets subject to matching (£)
Kind: | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation
Formula: | =IF(x2,0,x1)+SUMPRODUCT(x3,x4,x5)/100+SUMPRODUCT(x3,x6,x7)*x8/100+SUMPRODUCT(x3,x9)*x8/100 | =x10*x11+(x12+x13+x14)*(x15+x16+x17)+(x13+x14)*(x18-x19-x20-x21-x22)/(x23+x24+x13+x14) | =x25-x15*x12-x16*x12-x10*x11-x26 | =x27-x28-x29-x30 | =(1-x31)*(x27-x28-x29-x30)+x29+x30 | =IF(x32,x32/x33,0)
| Net forecast EDCM generation revenue (£/year) | Demand revenue target pot (£/year) | Additional amount to be recovered (£/year) | Amount to be recovered from adders ex costs (£/year) | Residual residual (£/year) | Annual charge on assets
Aggregate data #5 | -153982.4584 | 13691862.555 | 11030532.7097 | 7151176.4389 | 7022698.9224 | 6.932%
4048. Marginal revenue effect of demand adder
Data sources:
x1 = 4012. Maximum import capacity adjusted for part-year (kVA)
x2 = 4016. Factor for the allocation of capacity scaling
x3 = 4038. Peak-time capacity use per kVA of agreed capacity
x4 = 4046. Additional amount to be recovered (£/year)
x5 = 935. Proportion exposed to indirect cost allocation and fixed adder (in Tariff data)
Calculation =x1*(x2+x3)*IF(x4<0,1,x5)
Marginal revenue effect of demand adder
1 | 7109.7722
2 | 3501.2492
3 | 3000
4050. Aggregate data #6
Data sources:
x1 = 1191. Baseline total marginal effect of demand adder (kVA) (in Baseline EDCM demand aggregates)
x2 = 4008. Is this the master model?
x3 = 4012. Weighting of each tariff for reconciliation of totals
x4 = 4048. Marginal revenue effect of demand adder
x5 = 4046. Amount to be recovered from adders ex costs (£/year)
x6 = 4016. Proportion of residual to go into fixed adder
x7 = Total marginal revenue effect of demand adder
Kind: | Calculation | Calculation
Formula: | =IF(x2,0,x1)+SUMPRODUCT(x3,x4) | =IF(x5,x6*x5/x7,0)
| Total marginal revenue effect of demand adder | Fixed adder ex indirects application rate
Aggregate data #6 | 674540.6549 | 2.1203
4052. Tariff-specific data #13
Data sources:
x1 = 4044. Capacity charge after applying indirect cost charge p/kVA/day
x2 = 4050. Fixed adder ex indirects application rate
x3 = 4016. Factor for the allocation of capacity scaling
x4 = 4038. Peak-time capacity use per kVA of agreed capacity
x5 = 1113. Days in year (in General inputs)
x6 = 4046. Additional amount to be recovered (£/year)
x7 = 935. Proportion exposed to indirect cost allocation and fixed adder (in Tariff data)
x8 = 4046. Annual charge on assets
x9 = 4024. Second set of capacity assets (£/kVA)
x10 = 4024. Second set of consumption assets (£/kVA)
x11 = 4036. Super red rate p/kWh
x12 = 4018. Super red kW divided by kVA adjusted for part-year
x13 = 1113. Annual hours in super red (in General inputs)
x14 = Capacity charge after applying fixed adder ex indirects p/kVA/day
x15 = Demand scaling p/kVA/day
x16 = 4012. Has import charges?
x17 = 4038. Super red unit rate adjusted for DSM (p/kWh)
x18 = Total import capacity charge p/kVA/day
x19 = 935. Super red kW import divided by kVA capacity (in Tariff data)
x20 = 935. Days for which not a customer (in Tariff data)
x21 = 935. Hours in super-red for which not a customer (in Tariff data)
x22 = Import capacity charge p/kVA/day
x23 = 4038. Adjustment to exceeded import capacity charge for DSM (p/kVA/day)
Kind: | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation
Formula: | =x1+x2*(x3+x4)*100/x5*IF(x6<0,1,x7) | =x8*(x9+x10)*100/x5 | =MAX(0-(x11*x12*x13/x5),x14+x15) | =IF(x16,IF(x12=0,x17,MAX(0,MIN(x17,x17+(x18/x19*(x5-x20)/(x13-x21))))),0) | =IF(x16,MAX(0,x18),0) | =x22+x23
| Capacity charge after applying fixed adder ex indirects p/kVA/day | Demand scaling p/kVA/day | Total import capacity charge p/kVA/day | Super red rate p/kWh | Import capacity charge p/kVA/day | Exceeded import capacity charge (p/kVA/day)
1 | 3.5696 | 8.5579 | 12.1275 | 0 | 12.1275 | 12.1275
2 | 1.1538 | 2.9757 | 4.1295 | 0 | 4.1295 | 4.1295
3 | 1.1161 | 1.1504 | 2.2665 | 0 | 2.2665 | 2.2665

## Results
Results for Illustrative DNO in 2013/2014 (DCP 183 worked example)
4501. EDCM charge
Data sources:
x1 = 935. Name (in Tariff data)
x2 = 4052. Super red rate p/kWh
x3 = 4044. Demand fixed charge p/day
x4 = 4052. Import capacity charge p/kVA/day
x5 = 4052. Exceeded import capacity charge (p/kVA/day)
x6 = 4036. Export super-red unit rate (p/kWh)
x7 = 4044. Export fixed charge p/day
x8 = 4044. Export capacity rate (p/kVA/day)
x9 = 4044. Export capacity charge (p/kVA/day)
Kind: | Copy cells | Calculation | Calculation | Calculation | Calculation | Copy cells | Copy cells | Copy cells | Copy cells | Checksum | Checksum
Formula: | = x1 | =ROUND(x2,3) | =ROUND(x3,2) | =ROUND(x4,2) | =ROUND(x5,2) | = x6 | = x7 | = x8 | =x9
| Name | Import super-red unit rate (p/kWh) | Import fixed charge (p/day) | Import capacity rate (p/kVA/day) | Import exceeded capacity rate (p/kVA/day) | Export super-red unit rate (p/kWh) | Export fixed charge p/day | Export capacity rate (p/kVA/day) | Export exceeded capacity rate (p/kVA/day) | Tariff checksum 5 | Model checksum 7
1 | Mr Full On | 0 | 33.76 | 12.13 | 12.13 | 0 | 0 | 0 | 0 | 74774 | 4383770
2 | Mr Load Manager | 0 | 33.76 | 4.13 | 4.13 | 0 | 0 | 0 | 0 | 27694 | 9580879
3 | Mr Generator | 0 | 16.09 | 2.27 | 2.27 | 0 | 32.18 | 0.08 | 0.08 | 39030 | 7159874

## HSummary
Revenue summary for Illustrative DNO in 2013/2014 (DCP 183 worked example)
4601. Horizontal information
Data sources:
x1 = 4501. Name (in Tariff data) (copy) (in EDCM charge)
x2 = 4501. Import super-red unit rate (p/kWh) (in EDCM charge)
x3 = 4501. Import fixed charge (p/day) (in EDCM charge)
x4 = 4501. Import capacity rate (p/kVA/day) (in EDCM charge)
x5 = 4501. Import exceeded capacity rate (p/kVA/day) (in EDCM charge)
x6 = 4501. Export super-red unit rate (p/kWh) (copy) (in EDCM charge)
x7 = 4501. Export fixed charge p/day (copy) (in EDCM charge)
x8 = 4501. Export capacity rate (p/kVA/day) (copy) (in EDCM charge)
x9 = 4501. Export exceeded capacity rate (p/kVA/day) (in EDCM charge)
x10 = 1113. Days in year (in General inputs)
x11 = 4012. Maximum import capacity adjusted for part-year (kVA)
x12 = 1113. Annual hours in super red (in General inputs)
x13 = 935. Hours in super-red for which not a customer (in Tariff data)
x14 = 935. Days for which not a customer (in Tariff data)
x15 = 935. Super red kW import divided by kVA capacity (in Tariff data)
x16 = 4012. Chargeable export capacity adjusted for part-year (kVA)
x17 = 4044. Export capacity rate (p/kVA/day)
x18 = 4044. Export fixed charge p/day
x19 = 4036. Export super-red unit rate (p/kWh)
x20 = 935. Super red units exported (kWh) (in Tariff data)
x21 = Capacity charge for demand (£/year) (in Horizontal information)
x22 = Super red charge for demand (£/year) (in Horizontal information)
x23 = Fixed charge for demand (£/year) (in Horizontal information)
x24 = 935. Import charge in previous charging year (£/year) (in Tariff data)
x25 = Total for demand (£/year) (in Horizontal information)
x26 = Import charge in previous charging year (£/year) (in Tariff data) (copy) (in Horizontal information)
x27 = Net capacity charge (or credit) for generation (£/year) (in Horizontal information)
x28 = Fixed charge for generation (£/year) (in Horizontal information)
x29 = Super red credit (£/year) (in Horizontal information)
x30 = 935. Export charge in previous charging year (£/year) (in Tariff data)
x31 = Total for generation (£/year) (in Horizontal information)
x32 = Export charge in previous charging year (£/year) (in Tariff data) (copy) (in Horizontal information)
x33 = 4044. Demand fixed charge p/day
x34 = 4044. Capacity charge p/kVA/day (exit only)
x35 = 4052. Demand scaling p/kVA/day
x36 = 4052. Capacity charge after applying fixed adder ex indirects p/kVA/day
x37 = 4036. Import demand charge p/kVA/day
x38 = 4012. Non-DSM import capacity adjusted for part-year (kVA)
x39 = 4042. Direct costs on EDCM demand except through sole use asset charges (£/year)
x40 = 4046. Residual residual (£/year)
x41 = 4042. Indirect costs application rate
x42 = 4038. Data for capacity-based allocation of indirect costs
x43 = 4042. Network rates on EDCM demand except through sole use asset charges (£/year)
x44 = 4036. Import capacity charge p/kVA/day
x45 = 4038. Super red unit rate adjusted for DSM (p/kWh)
x46 = 4050. Fixed adder ex indirects application rate
x47 = 4016. Factor for the allocation of capacity scaling
x48 = 4038. Peak-time capacity use per kVA of agreed capacity
x49 = 4046. Additional amount to be recovered (£/year)
x50 = 935. Proportion exposed to indirect cost allocation and fixed adder (in Tariff data)
x51 = Fixed charge for demand (unrounded) (£/year) (in Horizontal information)
x52 = Transmission exit charge (£/year) (in Horizontal information)
x53 = Direct cost allocation (£/year) (in Horizontal information)
x54 = Indirect cost allocation (£/year) (in Horizontal information)
x55 = Network rates allocation (£/year) (in Horizontal information)
x56 = FCP/LRIC charge (£/year) (in Horizontal information)
x57 = Demand scaling fixed adder (£/year) (in Horizontal information)
x58 = Demand scaling asset based (£/year) (in Horizontal information)
Kind: | Copy cells | Copy cells | Copy cells | Copy cells | Copy cells | Copy cells | Copy cells | Copy cells | Copy cells | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation | Copy cells | Calculation | Calculation | Calculation | Copy cells | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation | Calculation
Formula: | = x1 | = x2 | = x3 | = x4 | = x5 | = x6 | = x7 | = x8 | = x9 | =0.01*x10*x11*x4 | =0.01*(x12-x13)*x2*x11*(x10/(x10-x14))*x15 | =0.01*(x10-x14)*x3 | =0.01*x10*x16*x17 | =0.01*(x10-x14)*x18 | =0.01*x19*x20 | =x21+x22+x23 | = x24 | =x25-x26 | =IF(x26,x25/x26-1,"") | =x27+x28+x29 | = x30 | =x31-x32 | =IF(x32,x31/x32-1,"") | =0.01*(x10-x14)*x33 | =0.01*x10*x11*x34 | =x11*MAX(x35,0-(x36+IF(x15=0,0,(1-x13/x12)*x10/(x10-x14)*IF(x11=0,1,x38/x11)*x37)))*x10*0.01*x39/x40 | =x11*x41*x42 | =x11*MAX(x35,0-(x36+IF(x15=0,0,(1-x13/x12)*x10/(x10-x14)*IF(x11=0,1,x38/x11)*x37)))*x10*0.01*x43/x40 | =0.01*(x38*x10*x44+x11*x45*x15*(x12-x13)*(x10/(x10-x14))) | =x11*x46*(x47+x48)*IF(x49<0,1,x50) | =x11*MAX(x35,0-(x36+IF(x15=0,0,(1-x13/x12)*x10/(x10-x14)*IF(x11=0,1,x38/x11)*x37)))*x10*0.01*(1-(x43+x39)/x40) | =x25-x51-x52-x53-x54-x55-x56-x57-x58
| Name | Import super-red unit rate (p/kWh) | Import fixed charge (p/day) | Import capacity rate (p/kVA/day) | Import exceeded capacity rate (p/kVA/day) | Export super-red unit rate (p/kWh) | Export fixed charge p/day | Export capacity rate (p/kVA/day) | Export exceeded capacity rate (p/kVA/day) | Capacity charge for demand (£/year) | Super red charge for demand (£/year) | Fixed charge for demand (£/year) | Net capacity charge (or credit) for generation (£/year) | Fixed charge for generation (£/year) | Super red credit (£/year) | Total for demand (£/year) | Import charge in previous charging year (£/year) | Change (demand) (£/year) | Change (demand) (%) | Total for generation (£/year) | Export charge in previous charging year (£/year) | Change (generation) (£/year) | Change (generation) (%) | Fixed charge for demand (unrounded) (£/year) | Transmission exit charge (£/year) | Direct cost allocation (£/year) | Indirect cost allocation (£/year) | Network rates allocation (£/year) | FCP/LRIC charge (£/year) | Demand scaling fixed adder (£/year) | Demand scaling asset based (£/year) | Check (£/year)
1 | Mr Full On | 0 | 33.76 | 12.13 | 12.13 | 0 | 0 | 0 | 0 | 221372.5 | 0 | 123.224 | 0 | 0 | 0 | 221495.724 | 224415.724 | -2920 | -1.301% | 0 | 0 | 0 |  | 123.2266 | 22902.0643 | 14136.3959 | 27168.3228 | 14814.0758 | 0 | 15074.9211 | 127231.0011 | 45.7165
2 | Mr Load Manager | 0 | 33.76 | 4.13 | 4.13 | 0 | 0 | 0 | 0 | 75372.5 | 0 | 123.224 | 0 | 0 | 0 | 75495.724 | 43010.724 | 32485 | 75.53% | 0 | 0 | 0 |  | 123.2266 | 254.4674 | 4915.3574 | 13379.2006 | 5150.9931 | 0 | 7423.7337 | 44239.4122 | 9.333
3 | Mr Generator | 0 | 16.09 | 2.27 | 2.27 | 0 | 32.18 | 0.08 | 0.08 | 41427.5 | 0 | 58.7285 | 2920 | 117.457 | 0 | 41486.2285 | 41668.7285 | -182.5 | -0.438% | 3037.457 | 3037.457 | 0 | 0% | 58.7309 | 2544.6738 | 1900.2318 | 11463.7946 | 1991.3264 | 0 | 6360.93 | 17102.5488 | 63.9922
4602. Total for all tariffs (£/year)
Data sources:
x1 = 4601. Total for demand (£/year) (in Horizontal information)
x2 = 4601. Total for generation (£/year) (in Horizontal information)
x3 = Total for demand across all tariffs (£/year) (in Total for all tariffs (£/year))
x4 = Total for generation across all tariffs (£/year) (in Total for all tariffs (£/year))
Kind: | = x1: Fixed data; = x2: Cell summation; = x3: Cell summation; = x4: Calculation
Formula: | = x2: =SUM(x1); = x3: =SUM(x2); = x4: =x3+x4
| This column is not used | Total for demand across all tariffs (£/year) | Total for generation across all tariffs (£/year) | Total for all tariffs (£/year)
Total for all tariffs (£/year) | = x2: 338477.6765; = x3: 3037.457; = x4: 341515.1335

## Aggregates
Aggregates for Illustrative DNO in 2013/2014 (DCP 183 worked example)
4791. Summary aggregate data part 1
Data sources:
x1 = 4040. Total EDCM peak time consumption (kW)
x2 = 4042. Total marginal effect of indirect cost adder
x3 = 4050. Total marginal revenue effect of demand adder
x4 = 4042. Revenue from demand charge 1 (£/year)
Kind: | Copy cells | Copy cells | Copy cells | Copy cells
Formula: | = x1 | = x2 | = x3 | = x4
| Total EDCM peak time consumption (kW) | Total marginal effect of indirect cost adder | Total marginal revenue effect of demand adder | Revenue from demand charge 1 (£/year)
Summary aggregate data part 1 | 266192.9366 | 674540.6549 | 674540.6549 | 1067400.835
4792. Summary aggregate data part 2
Data sources:
x1 = 4042. Chargeable export capacity adjusted for part-year (kVA) (total)
x2 = 4042. Non-exempt 2005-2010 export capacity (kVA) adjusted for part-year (total)
x3 = 4042. Non-exempt post-2010 export capacity (kVA) adjusted for part-year (total)
x4 = 4046. Net forecast EDCM generation revenue (£/year)
Kind: | Copy cells | Copy cells | Copy cells | Copy cells
Formula: | = x1 | = x2 | = x3 | = x4
| Chargeable export capacity adjusted for part-year (kVA) (total) | Non-exempt 2005-2010 export capacity (kVA) adjusted for part-year (total) | Non-exempt post-2010 export capacity (kVA) adjusted for part-year (total) | Net forecast EDCM generation revenue (£/year)
Summary aggregate data part 2 | 476950 | 170600 | 276750 | -153982.4584
4793. Summary aggregate data part 3
Data sources:
x1 = 4040. Total sole use assets for demand (£)
x2 = 4040. Total sole use assets for generation (£)
x3 = 4040. Capacity assets (£)
x4 = 4040. Consumption assets (£)
x5 = 4042. Total non sole use notional assets subject to matching (£)
Kind: | Copy cells | Copy cells | Copy cells | Copy cells | Copy cells
Formula: | = x1 | = x2 | = x3 | = x4 | = x5
| Total sole use assets for demand (£) | Total sole use assets for generation (£) | Capacity assets (£) | Consumption assets (£) | Total non sole use notional assets subject to matching (£)
Summary aggregate data part 3 | 22339603.5545 | 10691707.2169 | 92215007.2365 | 11205904.6322 | 101305496.0876
4801. Copy of 4046. Demand revenue target pot (£/year)
Data sources:
x1 = 4046. Demand revenue target pot (£/year)
Copy cells = x1
Copy of 4046. Demand revenue target pot (£/year)
Copy of 4046. Demand revenue target pot (£/year) | 13691862.555
4829. Copy of 4040. All notional assets in EDCM (£)
Data sources:
x1 = 4040. All notional assets in EDCM (£)
Copy cells = x1
Copy of 4040. All notional assets in EDCM (£)
Copy of 4040. All notional assets in EDCM (£) | 136452222.6402
4831. Copy of 4008. HV and LV service assets in CDCM model (£)
Data sources:
x1 = 4008. HV and LV service assets in CDCM model (£)
Copy cells = x1
Copy of 4008. HV and LV service assets in CDCM model (£)
Copy of 4008. HV and LV service assets in CDCM model (£) | 325235493.1273
4833. Copy of 4008. EHV assets in CDCM model (£)
Data sources:
x1 = 4008. EHV assets in CDCM model (£)
Copy cells = x1
Copy of 4008. EHV assets in CDCM model (£)
Copy of 4008. EHV assets in CDCM model (£) | 795605859.1215
4835. Copy of 4008. HV and LV network assets in CDCM model (£)
Data sources:
x1 = 4008. HV and LV network assets in CDCM model (£)
Copy cells = x1
Copy of 4008. HV and LV network assets in CDCM model (£)
Copy of 4008. HV and LV network assets in CDCM model (£) | 1153525900.627
4837. Copy of 4008. Total CDCM peak time consumption (kW)
Data sources:
x1 = 4008. Total CDCM peak time consumption (kW)
Copy cells = x1
GSP
Copy of 4008. Total CDCM peak time consumption (kW) | 1742552.0685
4838. Copy of 4040. Estimated total peak-time consumption (kW)
Data sources:
x1 = 4040. Estimated total peak-time consumption (kW)
Copy cells = x1
GSP
Copy of 4040. Estimated total peak-time consumption (kW) | 2008745.0051
4839. Copy of 4040. Transmission exit charging rate (£/kW/year)
Data sources:
x1 = 4040. Transmission exit charging rate (£/kW/year)
Copy cells = x1
Copy of 4040. Transmission exit charging rate (£/kW/year)
Copy of 4040. Transmission exit charging rate (£/kW/year) | 4.9315
4843. Copy of 4042. Export capacity charge p/kVA/day
Data sources:
x1 = 4042. Export capacity charge p/kVA/day
Copy cells = x1
Copy of 4042. Export capacity charge p/kVA/day
Copy of 4042. Export capacity charge p/kVA/day | 0.079517
4845. Copy of 4040. Direct cost charging rate
Data sources:
x1 = 4040. Direct cost charging rate
Copy cells = x1
Copy of 4040. Direct cost charging rate
Copy of 4040. Direct cost charging rate | 0.6146%
4846. Copy of 4040. Network rates charging rate
Data sources:
x1 = 4040. Network rates charging rate
Copy cells = x1
Copy of 4040. Network rates charging rate
Copy of 4040. Network rates charging rate | 0.6441%
4850. Copy of 4040. Indirect cost charging rate
Data sources:
x1 = 4040. Indirect cost charging rate
Copy cells = x1
Copy of 4040. Indirect cost charging rate
Copy of 4040. Indirect cost charging rate | 2.05%
4852. Copy of 4042. Direct costs on EDCM demand except through sole use asset charges (£/year)
Data sources:
x1 = 4042. Direct costs on EDCM demand except through sole use asset charges (£/year)
Copy cells = x1
Copy of 4042. Direct costs on EDCM demand except through sole use asset charges (£/year)
Copy of 4042. Direct costs on EDCM demand except through sole use asset charges (£/year) | 635642.9497
4853. Copy of 4040. Indirect costs on EDCM demand (£/year)
Data sources:
x1 = 4040. Indirect costs on EDCM demand (£/year)
Copy cells = x1
Copy of 4040. Indirect costs on EDCM demand (£/year)
Copy of 4040. Indirect costs on EDCM demand (£/year) | 2577598.4996
4854. Copy of 4046. Additional amount to be recovered (£/year)
Data sources:
x1 = 4046. Additional amount to be recovered (£/year)
Copy cells = x1
Copy of 4046. Additional amount to be recovered (£/year)
Copy of 4046. Additional amount to be recovered (£/year) | 11030532.7097
4855. Copy of 4042. Network rates on EDCM demand except through sole use asset charges (£/year)
Data sources:
x1 = 4042. Network rates on EDCM demand except through sole use asset charges (£/year)
Copy cells = x1
Copy of 4042. Network rates on EDCM demand except through sole use asset charges (£/year)
Copy of 4042. Network rates on EDCM demand except through sole use asset charges (£/year) | 666114.8215
4857. Copy of 4046. Residual residual (£/year)
Data sources:
x1 = 4046. Residual residual (£/year)
Copy cells = x1
Copy of 4046. Residual residual (£/year)
Copy of 4046. Residual residual (£/year) | 7022698.9224
4858. Copy of 4046. Annual charge on assets
Data sources:
x1 = 4046. Annual charge on assets
Copy cells = x1
Copy of 4046. Annual charge on assets
Copy of 4046. Annual charge on assets | 6.932%
4859. Copy of 4046. Amount to be recovered from adders ex costs (£/year)
Data sources:
x1 = 4046. Amount to be recovered from adders ex costs (£/year)
Copy cells = x1
Copy of 4046. Amount to be recovered from adders ex costs (£/year)
Copy of 4046. Amount to be recovered from adders ex costs (£/year) | 7151176.4389
4861. Copy of 4050. Fixed adder ex indirects application rate
Data sources:
x1 = 4050. Fixed adder ex indirects application rate
Copy cells = x1
Copy of 4050. Fixed adder ex indirects application rate
Copy of 4050. Fixed adder ex indirects application rate | 2.1203
4862. Copy of 4042. Indirect costs application rate
Data sources:
x1 = 4042. Indirect costs application rate
Copy cells = x1
Copy of 4042. Indirect costs application rate
Copy of 4042. Indirect costs application rate | 3.8213