DCUSA Consultation 

DCP 167

ATTACHMENT A - RESPONSE FORM

To: Claire Hynes
Email: DCUSA@electralink.co.uk
Fax: 020 7432 3014

Name: 
Franck Latrémolière


Organisation: 
Peel Ports Group Limited


Role: 

Customer


Email Address: f20@reckon.co.uk


Phone Number: 020 7841 5858
Response
: Non-Confidential

	Q1   Do you understand the intent of DCP 167?

	Yes.



	Q2    Are you supportive of the principles of DCP 167?

	Yes.



	Q3   Do you have any comments on the proposed legal text?

	As things stand, the proposed approach to example 8C (which is, in my view, a good approach) is not compatible with the legal text.  This is because the Relevant Section of Network is defined by reference to parts of the network used to supply the new customer, and DCP 167 does not propose to change that definition.

The consultation document says that “associated DCP162” proposes to change the definition of Relevant Section of Network.  But the assessment of DCP 167 cannot rely on the assumption that DCP 162 will be approved.

Furthermore, I think that the definition of Relevant Section of Network proposed under DCP 162 is inappropriate and that it might not deliver the intended effect for DCP 167.
I think that we need a more targeted approach that specifically addresses the needs of DCP 167.  I suggest the following text to replace the definition of Relevant Section of Network in the table after clause 1.24:

“If the assets installed that add capacity (network or fault level) to the existing shared use Distribution System are not being used to supply you in either normal and abnormal running arrangements, but instead are being used to supply other loads as part of a load transfer, then the Relevant Section of Network is that part or parts of the Distribution System that can be used to supply the transferred loads in both normal and abnormal running arrangements.

Otherwise, the Relevant Section of Network is that part or parts of the Distribution System that can be used to supply you in both normal and abnormal running arrangements.

There may be more than one Relevant Section of Network, e.g. at different voltage levels.”




	 Q4
Do you agree with proposed example 8C as set out in this CP? (Please see 3.2 to 3.4 of this consultation) Do you have any comments on proposed example 8C? (Please refer to 3.3 to 3.4 of this consultation)

	Example 8C could be made even clearer by highlighting the relevant section of network on the diagram, and/or by specifying it in more detail in the text.  On a first read of the document, because I was looking for a section of network supplying the new development, I wrongly assumed that the first mention of “Primary Substation B” under “The RSN for the Reinforcement” was a typo and should read “Primary Substation A”.  This kind of confusion would be avoided by the change to the table after clause 1.24 suggested in my answer to Q3, and by changing the text in Example 8C under “The RSN for the Reinforcement” to read:

“The Relevant Section of Network is the three-feeder network from Primary Substation B which supplies the loads on the existing two feeders from Primary Substation B as well as the loads at points C and D transferred from the network from the Primary Substation A. The Relevant Section of Network does not supply the new development in this case.  The numerator [… continue as current draft]”



	Q5 
Do you agree with proposed example 8D as set out in this CP? (Please see 3.5 to 3.12 of this consultation)

	Yes, but see also responses to Q7–Q11.



	Q6 
Do you have any comments on proposed example 8D? (Please see 3.5 to 3.12 of this consultation)

	Only as noted in responses to Q7–Q11.



	Q7 Do you believe it would be more appropriate for example 8D to be considered to illustrate ‘Reinforcement’ such that the Cost Apportionment Factor may be considered to apply? (Please see 3.5 to 3.12 of this consultation)

	Yes.



	Q8 
In example 8D do you believe that capacity has been created or transferred? (Please see 3.5 to 3.12 of this consultation)

	Additional capacity to deliver power to the POC has been created by constructing additional network assets.

This has been achieved by removing a load from points G/H, which in took advantage of the spare capacity to deliver power at points A/F, so it can be described as a transfer of capacity as well.

What really matters is whether adding capacity to deliver power at the POC in this particular way amounts to “adding capacity (network or fault level) to the existing shared use Distribution System”.  That is not clear from the current methodology statement and clarifying it one way or the other would be excellent.



	Q9
Do you consider that two types of Reinforcement (‘conventional reinforcement’ and ‘load transfer reinforcement) should be defined in the DCUSA? (Please see 3.5 to 3.12 of this consultation)Do you believe that DCUSA Schedule 22 clause 1.13 of the Common Connections Charging methodology is appropriate or does it require to be changed (Please see 2.8 of this consultation)?
DCUSA Schedule 22 Clause 1.13

“Work required to reconfigure the Distribution System to meet your requirements where no additional Network or Fault Level Capacity is made available shall be charged in full to you. See Example 8B”.

	Your question seems a bit garbled.  See answer to Q11 in relation to the definition of Reinforcement (clause 1.16).  If the definition of Reinforcement is clarified then there might be no need to change clause 1.13, since it relies on the same concept of additional Network or Fault Level Capacity.



	Q10 Where capacity is transferred as described in example 8D are there any circumstances where you believe that the costs should or should not be apportioned? Please describe.

	See answer to Q7.



	Q11 Do you believe that any other parts of the methodology need to be revised in relation to this issue of transferring capacity – e.g. 1.16 ( Please see 2.9 of this consultation)?
DCUSA Clause 1.16

“Reinforcement is defined as assets installed that add capacity (network or fault level) to the existing shared use Distribution System. The costs of Reinforcement shall be apportioned between you and us. The methods used to apportion the costs of Reinforcement are set out in paragraphs 1.23- 1.28. There are five exceptions to this rule. Where an exception applies Reinforcement will treated as Extension Assets and costs will not be apportioned. These exceptions are described below and the application of exceptions 1, 2, 4, and 5 is demonstrated in the Examples”. 

	I think that the words in the statement of methodology should be as unambiguous as possible, and therefore that the current ambiguity in the definition of Reinforcement in clause 1.16 should ideally be resolved by using better words (and not just by an illustrative example).
But the counterarguments in the middle sentence of paragraph 3.11 of the consultation have some force.

I think that it might be possible to solve this issue by adding to the definition rather than by replacing it.  For example, to implement the answer “yes” to Q7:

“Reinforcement is defined as assets installed that add Network or Fault Level Capacity to the existing shared use Distribution System or to any point within the existing shared use Distribution System.”




	Q12 
Which DCUSA General Objectives does the CP better facilitate? Please provide supporting comments.

1. The development, maintenance and operation by each of the DNO Parties and IDNO Parties of an efficient, co-ordinated, and economical Distribution System.

2. The facilitation of effective competition in the generation and supply of electricity and (so far as is consistent with that) the promotion of such competition in the sale, distribution and purchase of electricity. 

3. The efficient discharge by each of the DNO Parties and IDNO Parties of the obligations imposed upon them by their Distribution Licences.

4. The promotion of efficiency in the implementation and administration of this Agreement and the arrangements under it.

5. compliance with the Regulation on Cross-Border Exchange in Electricity and any relevant legally binding decisions of the European Commission and/or the Agency for the Co-operation of Energy Regulators.

	The change better facilitates number 4, if the application of the connection charging methodology can be considered to be part of the implementation and administration of DCUSA (even though the connection charging methodology has no contractual effect between DCUSA parties).




	Q13 Which DCUSA Charging Objectives does the CP better facilitate? Please provide supporting comments.

1. that compliance by each DNO Party with the Charging Methodologies facilitates the discharge by the DNO Party of the obligations imposed on it under the Act and by its Distribution Licence.
2. that compliance by each DNO Party with the Charging Methodologies facilitates competition in the generation and supply of electricity and will not restrict, distort, or prevent competition in the transmission or distribution of electricity or in participation in the operation of an Interconnector (as defined in the Distribution Licences).
3. that compliance by each DNO Party with the Charging Methodologies results in charges which, so far as is reasonably practicable after taking account of implementation costs, reflect the costs incurred, or reasonably expected to be incurred, by the DNO Party in its Distribution Business.
4. that, so far as is consistent with Clauses 3.2.1 to 3.2.3, the Charging Methodologies, so far as is reasonably practicable, properly take account of developments in each DNO Party’s Distribution Business.
5. that compliance by each DNO Party with the Charging Methodologies facilitates compliance with the Regulation on Cross-Border Exchange in Electricity and any relevant legally binding decisions of the European Commission and/or the Agency for the Co-operation of Energy Regulators.

	The change better facilitates number 3, because apportioning reinforcement costs incurred for remote reinforcement shared with other network users is appropriate; and because a clearer methodology is likely to be fairer and more cost-reflective since interested parties have a better chance of understanding it and challenging any errors.
If the affected distributors believe that the existence of the types of cases in respect of which this DCP improves the connection charging methodology can be seen as a development in their business, then the change better facilitates number 4.



	Q14 Are you aware of any wider industry developments that may impact upon or be impacted by this CP?  If so, please give details, and comment on whether the benefit of the change may outweigh the potential impact and whether the duration of the change is likely to be limited. 

	DCP 162, as outlined in my response to Q3.  But the adverse impact here is only due to deficiencies in DCP 162 and does not reveal any problem with DCP 167 provided that DCP 167 is modified as suggested in my response to Q3.



	Q15
Are you supportive of the proposed implementation date of the next DCUSA release following Authority consent?

	Yes.  But if the argument from price-controlled distributors at the end of paragraph 3.11 of the consultation can be shown to be valid then perhaps there would be some grounds to defer the implementation of a clearer and wider definition of Reinforcement to 1 April 2015.

 


	Q16 Are there any alternative solutions or matters that should be considered by the Working Group?

	No.



Please complete and return to dcusa@electralink.co.uk no later than Wednesday, 02 October 2013. 
� All responses will be treated as non-confidential unless indicated otherwise.





11/09/2013
Page 7 of 7
v1

